## data_Nick_HomeDepot
device_type | software_version | UID | Test_number | Test | ImageName | batch | weekday | timestamp_iso8601 | decimal_hour | bandwidth_FWHM_nm | field_of_view_FWHM_DEG | irradiance_410nm_purple_wavelength_nm | irradiance_410nm_purple_wavelength_uncertainty_nm | irradiance_410nm_purple_irradiance_uW_per_cm_squared | irradiance_410nm_purple_irradiance_uncertainty_uW_per_cm_squared | irradiance_435nm_blue_wavelength_nm | irradiance_435nm_blue_wavelength_uncertainty_nm | irradiance_435nm_blue_irradiance_uW_per_cm_squared | irradiance_435nm_blue_irradiance_uncertainty_uW_per_cm_squared | irradiance_460nm_dodgerblue_wavelength_nm | irradiance_460nm_dodgerblue_wavelength_uncertainty_nm | irradiance_460nm_dodgerblue_irradiance_uW_per_cm_squared | irradiance_460nm_dodgerblue_irradiance_uncertainty_uW_per_cm_squared | irradiance_485nm_cyan_wavelength_nm | irradiance_485nm_cyan_wavelength_uncertainty_nm | irradiance_485nm_cyan_irradiance_uW_per_cm_squared | irradiance_485nm_cyan_irradiance_uncertainty_uW_per_cm_squared | irradiance_510nm_green_wavelength_nm | irradiance_510nm_green_wavelength_uncertainty_nm | irradiance_510nm_green_irradiance_uW_per_cm_squared | irradiance_510nm_green_irradiance_uncertainty_uW_per_cm_squared | irradiance_535nm_aquamarine_wavelength_nm | irradiance_535nm_aquamarine_wavelength_uncertainty_nm | irradiance_535nm_aquamarine_irradiance_uW_per_cm_squared | irradiance_535nm_aquamarine_irradiance_uncertainty_uW_per_cm_squared | irradiance_560nm_limegreen_wavelength_nm | irradiance_560nm_limegreen_wavelength_uncertainty_nm | irradiance_560nm_limegreen_irradiance_uW_per_cm_squared | irradiance_560nm_limegreen_irradiance_uncertainty_uW_per_cm_squared | irradiance_585nm_yellow_wavelength_nm | irradiance_585nm_yellow_wavelength_uncertainty_nm | irradiance_585nm_yellow_irradiance_uW_per_cm_squared | irradiance_585nm_yellow_irradiance_uncertainty_uW_per_cm_squared | irradiance_610nm_orange_wavelength_nm | irradiance_610nm_orange_wavelength_uncertainty_nm | irradiance_610nm_orange_irradiance_uW_per_cm_squared | irradiance_610nm_orange_irradiance_uncertainty_uW_per_cm_squared | irradiance_645nm_red_wavelength_nm | irradiance_645nm_red_wavelength_uncertainty_nm | irradiance_645nm_red_irradiance_uW_per_cm_squared | irradiance_645nm_red_irradiance_uncertainty_uW_per_cm_squared | irradiance_680nm_black_wavelength_nm | irradiance_680nm_black_wavelength_uncertainty_nm | irradiance_680nm_black_irradiance_uW_per_cm_squared | irradiance_680nm_black_irradiance_uncertainty_uW_per_cm_squared | irradiance_705nm_brown_wavelength_nm | irradiance_705nm_brown_wavelength_uncertainty_nm | irradiance_705nm_brown_irradiance_uW_per_cm_squared | irradiance_705nm_brown_irradiance_uncertainty_uW_per_cm_squared | irradiance_730nm_gray_wavelength_nm | irradiance_730nm_gray_wavelength_uncertainty_nm | irradiance_730nm_gray_irradiance_uW_per_cm_squared | irradiance_730nm_gray_irradiance_uncertainty_uW_per_cm_squared | irradiance_760nm_silver_wavelength_nm | irradiance_760nm_silver_wavelength_uncertainty_nm | irradiance_760nm_silver_irradiance_uW_per_cm_squared | irradiance_760nm_silver_irradiance_uncertainty_uW_per_cm_squared | irradiance_810nm_lightgray_wavelength_nm | irradiance_810nm_lightgray_wavelength_uncertainty_nm | irradiance_810nm_lightgray_irradiance_uW_per_cm_squared | irradiance_810nm_lightgray_irradiance_uncertainty_uW_per_cm_squared | irradiance_860nm_linen_wavelength_nm | irradiance_860nm_linen_wavelength_uncertainty_nm | irradiance_860nm_linen_irradiance_uW_per_cm_squared | irradiance_860nm_linen_irradiance_uncertainty_uW_per_cm_squared | irradiance_900nm_wheat_wavelength_nm | irradiance_900nm_wheat_wavelength_uncertainty_nm | irradiance_900nm_wheat_irradiance_uW_per_cm_squared | irradiance_900nm_wheat_irradiance_uncertainty_uW_per_cm_squared | irradiance_940nm_gold_wavelength_nm | irradiance_940nm_gold_wavelength_uncertainty_nm | irradiance_940nm_gold_irradiance_uW_per_cm_squared | irradiance_940nm_gold_irradiance_uncertainty_uW_per_cm_squared | battery_voltage | battery_percent
STELLA-Q2 | 2.4.0 | 6858 | 0 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201513Z | 20.2536 | 20 | 20 | 410 | 10 | 2736.45 | 328.374 | 435 | 10 | 3831.19 | 459.742 | 460 | 10 | 5428.55 | 651.426 | 485 | 10 | 4129.25 | 495.51 | 510 | 10 | 4499.46 | 539.935 | 535 | 10 | 5025.54 | 603.065 | 560 | 10 | 3612.6 | 433.512 | 585 | 10 | 4193.51 | 503.222 | 610 | 10 | 10148.4 | 1217.81 | 645 | 10 | 3756.86 | 450.824 | 680 | 10 | 9793.81 | 1175.26 | 705 | 10 | 3296.64 | 395.596 | 730 | 10 | 9145.37 | 1097.44 | 760 | 10 | 9025.91 | 1083.11 | 810 | 10 | 8889.97 | 1066.8 | 860 | 10 | 8970.46 | 1076.46 | 900 | 10 | 2280.51 | 273.662 | 940 | 10 | 1326.17 | 159.141 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 1 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201515Z | 20.2542 | 20 | 20 | 410 | 10 | 2729.64 | 327.557 | 435 | 10 | 3797.51 | 455.701 | 460 | 10 | 5361.71 | 643.405 | 485 | 10 | 4071.51 | 488.582 | 510 | 10 | 4483.04 | 537.965 | 535 | 10 | 5004.14 | 600.497 | 560 | 10 | 3523.38 | 422.805 | 585 | 10 | 4133.69 | 496.043 | 610 | 10 | 9748.42 | 1169.81 | 645 | 10 | 3674.33 | 440.92 | 680 | 10 | 9805.16 | 1176.62 | 705 | 10 | 3257.25 | 390.87 | 730 | 10 | 8990.77 | 1078.89 | 760 | 10 | 8936.86 | 1072.42 | 810 | 10 | 8793.27 | 1055.19 | 860 | 10 | 8760.16 | 1051.22 | 900 | 10 | 2261.62 | 271.395 | 940 | 10 | 1317.35 | 158.082 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 2 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201517Z | 20.2547 | 20 | 20 | 410 | 10 | 2710.92 | 325.311 | 435 | 10 | 3790.78 | 454.893 | 460 | 10 | 5383.99 | 646.079 | 485 | 10 | 4063.02 | 487.563 | 510 | 10 | 4488.52 | 538.622 | 535 | 10 | 5011.93 | 601.431 | 560 | 10 | 3551.37 | 426.164 | 585 | 10 | 4148.86 | 497.863 | 610 | 10 | 9846.42 | 1181.57 | 645 | 10 | 3679.14 | 441.497 | 680 | 10 | 9842.32 | 1181.08 | 705 | 10 | 3281.36 | 393.763 | 730 | 10 | 9040.21 | 1084.82 | 760 | 10 | 8969.02 | 1076.28 | 810 | 10 | 8827.92 | 1059.35 | 860 | 10 | 8813.03 | 1057.56 | 900 | 10 | 2265.51 | 271.861 | 940 | 10 | 1320 | 158.4 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 3 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201518Z | 20.255 | 20 | 20 | 410 | 10 | 2790.91 | 334.909 | 435 | 10 | 3835.04 | 460.204 | 460 | 10 | 5402.55 | 648.307 | 485 | 10 | 4125.86 | 495.103 | 510 | 10 | 4548.72 | 545.847 | 535 | 10 | 5024.89 | 602.987 | 560 | 10 | 3531.69 | 423.802 | 585 | 10 | 4150.97 | 498.116 | 610 | 10 | 9822.49 | 1178.7 | 645 | 10 | 3681.73 | 441.808 | 680 | 10 | 9808.26 | 1176.99 | 705 | 10 | 3267.09 | 392.051 | 730 | 10 | 9066.89 | 1088.03 | 760 | 10 | 8970.67 | 1076.48 | 810 | 10 | 8826.31 | 1059.16 | 860 | 10 | 8845.93 | 1061.51 | 900 | 10 | 2266.62 | 271.995 | 940 | 10 | 1327.94 | 159.353 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 4 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201520Z | 20.2556 | 20 | 20 | 410 | 10 | 2834.3 | 340.116 | 435 | 10 | 3837.92 | 460.551 | 460 | 10 | 5377.49 | 645.299 | 485 | 10 | 4182.75 | 501.93 | 510 | 10 | 4566.52 | 547.982 | 535 | 10 | 5021 | 602.52 | 560 | 10 | 3503.26 | 420.391 | 585 | 10 | 4157.71 | 498.925 | 610 | 10 | 10005.9 | 1200.71 | 645 | 10 | 3740.58 | 448.87 | 680 | 10 | 9745.3 | 1169.44 | 705 | 10 | 3242.64 | 389.117 | 730 | 10 | 9139.88 | 1096.78 | 760 | 10 | 8937.68 | 1072.52 | 810 | 10 | 8786.01 | 1054.32 | 860 | 10 | 8775.43 | 1053.05 | 900 | 10 | 2260.51 | 271.261 | 940 | 10 | 1334.11 | 160.094 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 5 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201521Z | 20.2558 | 20 | 20 | 410 | 10 | 2923.65 | 350.837 | 435 | 10 | 3884.1 | 466.092 | 460 | 10 | 5401.63 | 648.195 | 485 | 10 | 4260.02 | 511.202 | 510 | 10 | 4591.15 | 550.938 | 535 | 10 | 5015.81 | 601.898 | 560 | 10 | 3525.56 | 423.068 | 585 | 10 | 4200.25 | 504.03 | 610 | 10 | 10221.3 | 1226.56 | 645 | 10 | 3809.05 | 457.086 | 680 | 10 | 9785.55 | 1174.27 | 705 | 10 | 3255.89 | 390.706 | 730 | 10 | 9258.37 | 1111 | 760 | 10 | 9005.3 | 1080.64 | 810 | 10 | 8854.52 | 1062.54 | 860 | 10 | 8822.43 | 1058.69 | 900 | 10 | 2271.07 | 272.528 | 940 | 10 | 1349.11 | 161.894 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 6 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201523Z | 20.2564 | 20 | 20 | 410 | 10 | 2889.61 | 346.753 | 435 | 10 | 3821.57 | 458.588 | 460 | 10 | 5282.79 | 633.935 | 485 | 10 | 4333.89 | 520.067 | 510 | 10 | 4610.99 | 553.319 | 535 | 10 | 4960.7 | 595.283 | 560 | 10 | 3398.73 | 407.848 | 585 | 10 | 4102.94 | 492.353 | 610 | 10 | 10010.5 | 1201.26 | 645 | 10 | 3750.94 | 450.113 | 680 | 10 | 9516.2 | 1141.94 | 705 | 10 | 3137.37 | 376.485 | 730 | 10 | 9134.38 | 1096.13 | 760 | 10 | 8817.29 | 1058.07 | 810 | 10 | 8511.2 | 1021.34 | 860 | 10 | 8600.37 | 1032.04 | 900 | 10 | 2223.83 | 266.86 | 940 | 10 | 1342.06 | 161.047 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 7 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201524Z | 20.2567 | 20 | 20 | 410 | 10 | 2635.19 | 316.223 | 435 | 10 | 3579.11 | 429.493 | 460 | 10 | 4929.98 | 591.598 | 485 | 10 | 4054.53 | 486.544 | 510 | 10 | 4295.56 | 515.468 | 535 | 10 | 4608.59 | 553.03 | 560 | 10 | 3227.72 | 387.327 | 585 | 10 | 4064.19 | 487.703 | 610 | 10 | 9882.88 | 1185.95 | 645 | 10 | 3669.89 | 440.387 | 680 | 10 | 9628.69 | 1155.44 | 705 | 10 | 2828.36 | 339.403 | 730 | 10 | 9040.21 | 1084.82 | 760 | 10 | 8953.35 | 1074.4 | 810 | 10 | 8682.86 | 1041.94 | 860 | 10 | 7794.38 | 935.325 | 900 | 10 | 2254.95 | 270.594 | 940 | 10 | 1318.23 | 158.188 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 8 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201526Z | 20.2572 | 20 | 20 | 410 | 10 | 1541.81 | 185.017 | 435 | 10 | 2423.6 | 290.832 | 460 | 10 | 4098.11 | 491.773 | 485 | 10 | 2865.77 | 343.892 | 510 | 10 | 3490.92 | 418.91 | 535 | 10 | 4208.48 | 505.018 | 560 | 10 | 2969.68 | 356.362 | 585 | 10 | 2936.09 | 352.331 | 610 | 10 | 6530.47 | 783.657 | 645 | 10 | 1791.64 | 214.997 | 680 | 10 | 9211.75 | 1105.41 | 705 | 10 | 3047.73 | 365.727 | 730 | 10 | 5122.79 | 614.734 | 760 | 10 | 7148.33 | 857.8 | 810 | 10 | 7491.72 | 899.007 | 860 | 10 | 8430 | 1011.6 | 900 | 10 | 1930.44 | 231.652 | 940 | 10 | 879.704 | 105.564 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 9 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201527Z | 20.2575 | 20 | 20 | 410 | 10 | 1616.68 | 194.002 | 435 | 10 | 2474.59 | 296.951 | 460 | 10 | 4310.72 | 517.286 | 485 | 10 | 3038.14 | 364.577 | 510 | 10 | 3516.23 | 421.948 | 535 | 10 | 4124.19 | 494.902 | 560 | 10 | 2770.24 | 332.429 | 585 | 10 | 3156.82 | 378.819 | 610 | 10 | 6292.32 | 755.078 | 645 | 10 | 2137.32 | 256.478 | 680 | 10 | 8833 | 1059.96 | 705 | 10 | 2853.49 | 342.418 | 730 | 10 | 5574.01 | 668.882 | 760 | 10 | 7389.11 | 886.693 | 810 | 10 | 7504.62 | 900.554 | 860 | 10 | 7796.73 | 935.607 | 900 | 10 | 1984.89 | 238.187 | 940 | 10 | 899.998 | 108 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 10 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201529Z | 20.258 | 20 | 20 | 410 | 10 | 1482.24 | 177.869 | 435 | 10 | 2337.97 | 280.556 | 460 | 10 | 3934.7 | 472.164 | 485 | 10 | 2814.82 | 337.778 | 510 | 10 | 3417.7 | 410.124 | 535 | 10 | 4148.18 | 497.782 | 560 | 10 | 2830.16 | 339.619 | 585 | 10 | 2798.34 | 335.801 | 610 | 10 | 5744.22 | 689.306 | 645 | 10 | 1843.46 | 221.215 | 680 | 10 | 8940.34 | 1072.84 | 705 | 10 | 2939.74 | 352.769 | 730 | 10 | 5225.59 | 627.07 | 760 | 10 | 7161.53 | 859.383 | 810 | 10 | 7229.8 | 867.576 | 860 | 10 | 8213.82 | 985.658 | 900 | 10 | 1934.33 | 232.119 | 940 | 10 | 859.41 | 103.129 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 11 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201531Z | 20.2586 | 20 | 20 | 410 | 10 | 1318.87 | 158.265 | 435 | 10 | 2185.95 | 262.314 | 460 | 10 | 3770.37 | 452.444 | 485 | 10 | 2598.3 | 311.795 | 510 | 10 | 3271.96 | 392.636 | 535 | 10 | 4063.23 | 487.588 | 560 | 10 | 2762.81 | 331.537 | 585 | 10 | 2613.84 | 313.66 | 610 | 10 | 4380.24 | 525.628 | 645 | 10 | 1474.1 | 176.892 | 680 | 10 | 8412.98 | 1009.56 | 705 | 10 | 2877.6 | 345.311 | 730 | 10 | 4315.29 | 517.835 | 760 | 10 | 6524.12 | 782.894 | 810 | 10 | 6757.54 | 810.905 | 860 | 10 | 8008.21 | 960.985 | 900 | 10 | 1835.41 | 220.25 | 940 | 10 | 786.175 | 94.341 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 12 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201532Z | 20.2589 | 20 | 20 | 410 | 10 | 1649.87 | 197.984 | 435 | 10 | 2588.12 | 310.574 | 460 | 10 | 4091.61 | 490.993 | 485 | 10 | 3102.67 | 372.32 | 510 | 10 | 3466.28 | 415.954 | 535 | 10 | 4098.9 | 491.868 | 560 | 10 | 2764.12 | 331.694 | 585 | 10 | 2923.03 | 350.764 | 610 | 10 | 5573.29 | 668.795 | 645 | 10 | 1921.92 | 230.63 | 680 | 10 | 8742.19 | 1049.06 | 705 | 10 | 2826.66 | 339.199 | 730 | 10 | 5445.31 | 653.438 | 760 | 10 | 7220.07 | 866.408 | 810 | 10 | 7147.6 | 857.712 | 860 | 10 | 8031.71 | 963.805 | 900 | 10 | 1936.55 | 232.386 | 940 | 10 | 930.88 | 111.706 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 13 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201534Z | 20.2594 | 20 | 20 | 410 | 10 | 1485.65 | 178.278 | 435 | 10 | 2425.52 | 291.062 | 460 | 10 | 3956.06 | 474.727 | 485 | 10 | 2902.28 | 348.274 | 510 | 10 | 3388.28 | 406.594 | 535 | 10 | 3968.56 | 476.227 | 560 | 10 | 2488.14 | 298.577 | 585 | 10 | 2697.67 | 323.72 | 610 | 10 | 5200.68 | 624.081 | 645 | 10 | 1704.3 | 204.516 | 680 | 10 | 8443.94 | 1013.27 | 705 | 10 | 2745.5 | 329.46 | 730 | 10 | 4968.19 | 596.183 | 760 | 10 | 6843.23 | 821.188 | 810 | 10 | 6685.01 | 802.201 | 860 | 10 | 7291.52 | 874.982 | 900 | 10 | 1848.19 | 221.783 | 940 | 10 | 854.998 | 102.6 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 14 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201535Z | 20.2597 | 20 | 20 | 410 | 10 | 1655.82 | 198.699 | 435 | 10 | 2634.3 | 316.116 | 460 | 10 | 4096.25 | 491.55 | 485 | 10 | 3205.41 | 384.65 | 510 | 10 | 3457.39 | 414.886 | 535 | 10 | 3893.98 | 467.278 | 560 | 10 | 2345.13 | 281.415 | 585 | 10 | 2823.2 | 338.784 | 610 | 10 | 5943.63 | 713.236 | 645 | 10 | 1968.92 | 236.27 | 680 | 10 | 8377.88 | 1005.35 | 705 | 10 | 2646 | 317.52 | 730 | 10 | 5565.38 | 667.845 | 760 | 10 | 7047.73 | 845.728 | 810 | 10 | 6686.62 | 802.394 | 860 | 10 | 6771.03 | 812.523 | 900 | 10 | 1869.31 | 224.317 | 940 | 10 | 923.822 | 110.859 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 15 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201537Z | 20.2603 | 20 | 20 | 410 | 10 | 1619.24 | 194.308 | 435 | 10 | 2484.21 | 298.105 | 460 | 10 | 4060.04 | 487.205 | 485 | 10 | 2766.42 | 331.97 | 510 | 10 | 3311.65 | 397.398 | 535 | 10 | 3865.45 | 463.854 | 560 | 10 | 2289.15 | 274.697 | 585 | 10 | 2688.82 | 322.658 | 610 | 10 | 5246.26 | 629.551 | 645 | 10 | 1789.05 | 214.686 | 680 | 10 | 8219.99 | 986.398 | 705 | 10 | 2622.91 | 314.749 | 730 | 10 | 5055.3 | 606.636 | 760 | 10 | 6849.83 | 821.98 | 810 | 10 | 6443.23 | 773.188 | 860 | 10 | 6627.69 | 795.322 | 900 | 10 | 1833.19 | 219.983 | 940 | 10 | 917.645 | 110.117 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 16 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201605Z | 20.2681 | 20 | 20 | 410 | 10 | 2345.89 | 281.507 | 435 | 10 | 2065.69 | 247.882 | 460 | 10 | 3496.48 | 419.578 | 485 | 10 | 1869.75 | 224.37 | 510 | 10 | 2179.26 | 261.511 | 535 | 10 | 2529.63 | 303.556 | 560 | 10 | 2281.71 | 273.805 | 585 | 10 | 2266.73 | 272.007 | 610 | 10 | 1713.81 | 205.657 | 645 | 10 | 726.502 | 87.18 | 680 | 10 | 1802.93 | 216.351 | 705 | 10 | 2141.39 | 256.966 | 730 | 10 | 11593 | 1391.16 | 760 | 10 | 17118.4 | 2054.21 | 810 | 10 | 19375.6 | 2325.08 | 860 | 10 | 21659.5 | 2599.14 | 900 | 10 | 4364.87 | 523.785 | 940 | 10 | 2060.29 | 247.235 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 17 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201607Z | 20.2686 | 20 | 20 | 410 | 10 | 2876.85 | 345.222 | 435 | 10 | 2409.16 | 289.1 | 460 | 10 | 3105.61 | 372.673 | 485 | 10 | 2315.54 | 277.865 | 510 | 10 | 2163.52 | 259.622 | 535 | 10 | 2542.6 | 305.112 | 560 | 10 | 1860.09 | 223.211 | 585 | 10 | 2209.02 | 265.082 | 610 | 10 | 2784.94 | 334.192 | 645 | 10 | 972.988 | 116.758 | 680 | 10 | 1279.7 | 153.564 | 705 | 10 | 1589.23 | 190.708 | 730 | 10 | 13485.8 | 1618.29 | 760 | 10 | 15555.8 | 1866.7 | 810 | 10 | 16040.8 | 1924.9 | 860 | 10 | 17452.2 | 2094.26 | 900 | 10 | 4165.94 | 499.913 | 940 | 10 | 2198.82 | 263.858 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 18 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201609Z | 20.2692 | 20 | 20 | 410 | 10 | 2921.94 | 350.633 | 435 | 10 | 2264.85 | 271.782 | 460 | 10 | 3552.19 | 426.262 | 485 | 10 | 2234.87 | 268.185 | 510 | 10 | 2361.94 | 283.433 | 535 | 10 | 2071.82 | 248.618 | 560 | 10 | 2191.18 | 262.941 | 585 | 10 | 2388.47 | 286.616 | 610 | 10 | 2876.1 | 345.132 | 645 | 10 | 1028.5 | 123.42 | 680 | 10 | 1512.93 | 181.552 | 705 | 10 | 1450.68 | 174.082 | 730 | 10 | 14830.8 | 1779.7 | 760 | 10 | 17248.7 | 2069.84 | 810 | 10 | 18514.9 | 2221.79 | 860 | 10 | 19060.6 | 2287.27 | 900 | 10 | 4557.7 | 546.923 | 940 | 10 | 2185.58 | 262.27 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 19 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201610Z | 20.2694 | 20 | 20 | 410 | 10 | 2538.19 | 304.583 | 435 | 10 | 2337.97 | 280.556 | 460 | 10 | 3658.03 | 438.964 | 485 | 10 | 2065.9 | 247.908 | 510 | 10 | 2313.36 | 277.604 | 535 | 10 | 2867.48 | 344.097 | 560 | 10 | 2043.35 | 245.202 | 585 | 10 | 2092.33 | 251.08 | 610 | 10 | 3368.36 | 404.203 | 645 | 10 | 1024.06 | 122.887 | 680 | 10 | 2175.48 | 261.058 | 705 | 10 | 2019.48 | 242.337 | 730 | 10 | 15520.6 | 1862.47 | 760 | 10 | 20050.6 | 2406.07 | 810 | 10 | 19427.2 | 2331.27 | 860 | 10 | 22747.5 | 2729.7 | 900 | 10 | 5257.85 | 630.942 | 940 | 10 | 2244.7 | 269.364 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 20 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201612Z | 20.27 | 20 | 20 | 410 | 10 | 2259.1 | 271.092 | 435 | 10 | 2323.53 | 278.824 | 460 | 10 | 3703.52 | 444.423 | 485 | 10 | 1930.04 | 231.605 | 510 | 10 | 2202.52 | 264.302 | 535 | 10 | 2713.79 | 325.655 | 560 | 10 | 2022.79 | 242.735 | 585 | 10 | 1940.69 | 232.882 | 610 | 10 | 2682.38 | 321.886 | 645 | 10 | 935.238 | 112.228 | 680 | 10 | 1866.91 | 224.029 | 705 | 10 | 1885 | 226.201 | 730 | 10 | 11798.6 | 1415.83 | 760 | 10 | 15085.8 | 1810.29 | 810 | 10 | 14433.8 | 1732.06 | 860 | 10 | 18521.3 | 2222.56 | 900 | 10 | 4084.25 | 490.11 | 940 | 10 | 2032.94 | 243.952 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 21 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201613Z | 20.2703 | 20 | 20 | 410 | 10 | 3301.44 | 396.173 | 435 | 10 | 2946.03 | 353.524 | 460 | 10 | 4482.48 | 537.897 | 485 | 10 | 2700.19 | 324.023 | 510 | 10 | 3059.85 | 367.182 | 535 | 10 | 3935.49 | 472.258 | 560 | 10 | 2630.72 | 315.687 | 585 | 10 | 2786.13 | 334.335 | 610 | 10 | 3691.98 | 443.038 | 645 | 10 | 1198.75 | 143.85 | 680 | 10 | 2096.02 | 251.522 | 705 | 10 | 2561.45 | 307.374 | 730 | 10 | 17332.6 | 2079.91 | 760 | 10 | 20711.9 | 2485.43 | 810 | 10 | 20882.7 | 2505.92 | 860 | 10 | 22361 | 2683.31 | 900 | 10 | 5479.57 | 657.548 | 940 | 10 | 2744.11 | 329.293 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 22 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201615Z | 20.2708 | 20 | 20 | 410 | 10 | 3115.1 | 373.811 | 435 | 10 | 2753.61 | 330.433 | 460 | 10 | 4381.28 | 525.753 | 485 | 10 | 2351.2 | 282.144 | 510 | 10 | 2550.79 | 306.095 | 535 | 10 | 3323.99 | 398.879 | 560 | 10 | 2421.23 | 290.547 | 585 | 10 | 2530.01 | 303.601 | 610 | 10 | 3255.55 | 390.666 | 645 | 10 | 1082.17 | 129.86 | 680 | 10 | 2315.84 | 277.901 | 705 | 10 | 2401.84 | 288.221 | 730 | 10 | 17060.3 | 2047.23 | 760 | 10 | 21405.4 | 2568.65 | 810 | 10 | 20483.8 | 2458.05 | 860 | 10 | 23333.8 | 2800.05 | 900 | 10 | 5519.58 | 662.349 | 940 | 10 | 2635.58 | 316.27 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 23 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201616Z | 20.2711 | 20 | 20 | 410 | 10 | 2922.79 | 350.735 | 435 | 10 | 2711.27 | 325.353 | 460 | 10 | 4358.07 | 522.968 | 485 | 10 | 2185.63 | 262.275 | 510 | 10 | 2385.21 | 286.225 | 535 | 10 | 2861.64 | 343.397 | 560 | 10 | 1808.49 | 217.018 | 585 | 10 | 2099.92 | 251.99 | 610 | 10 | 2463.6 | 295.632 | 645 | 10 | 909.331 | 109.12 | 680 | 10 | 1744.1 | 209.292 | 705 | 10 | 1967.18 | 236.062 | 730 | 10 | 14885 | 1786.19 | 760 | 10 | 19298.6 | 2315.83 | 810 | 10 | 19108.9 | 2293.07 | 860 | 10 | 21777 | 2613.24 | 900 | 10 | 5032.8 | 603.936 | 940 | 10 | 2531.46 | 303.776 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 24 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201618Z | 20.2717 | 20 | 20 | 410 | 10 | 2878.55 | 345.426 | 435 | 10 | 2611.21 | 313.345 | 460 | 10 | 4264.3 | 511.716 | 485 | 10 | 2122.79 | 254.735 | 510 | 10 | 2312 | 277.439 | 535 | 10 | 2811.71 | 337.405 | 560 | 10 | 1818.11 | 218.173 | 585 | 10 | 2039.68 | 244.761 | 610 | 10 | 2388.39 | 286.607 | 645 | 10 | 932.277 | 111.873 | 680 | 10 | 1782.29 | 213.874 | 705 | 10 | 1955.64 | 234.677 | 730 | 10 | 14055.5 | 1686.66 | 760 | 10 | 18768.4 | 2252.21 | 810 | 10 | 18701.9 | 2244.23 | 860 | 10 | 21448 | 2573.77 | 900 | 10 | 4871.65 | 584.598 | 940 | 10 | 2442.35 | 293.082 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 25 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201619Z | 20.2719 | 20 | 20 | 410 | 10 | 2884.5 | 346.14 | 435 | 10 | 2613.14 | 313.576 | 460 | 10 | 4281.01 | 513.721 | 485 | 10 | 2139.77 | 256.773 | 510 | 10 | 2342.79 | 281.134 | 535 | 10 | 2817.55 | 338.106 | 560 | 10 | 1804.99 | 216.599 | 585 | 10 | 2032.09 | 243.851 | 610 | 10 | 2394.09 | 287.291 | 645 | 10 | 873.061 | 104.767 | 680 | 10 | 1736.88 | 208.425 | 705 | 10 | 1978.39 | 237.407 | 730 | 10 | 14170.8 | 1700.5 | 760 | 10 | 18971.2 | 2276.55 | 810 | 10 | 18932.4 | 2271.89 | 860 | 10 | 21384.6 | 2566.15 | 900 | 10 | 4942.22 | 593.067 | 940 | 10 | 2451.17 | 294.14 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 26 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201621Z | 20.2725 | 20 | 20 | 410 | 10 | 3166.15 | 379.938 | 435 | 10 | 2743.98 | 329.278 | 460 | 10 | 4209.52 | 505.142 | 485 | 10 | 2336.77 | 280.412 | 510 | 10 | 2515.21 | 301.825 | 535 | 10 | 3014.03 | 361.683 | 560 | 10 | 1864.03 | 223.684 | 585 | 10 | 2269.26 | 272.311 | 610 | 10 | 2469.3 | 296.316 | 645 | 10 | 946.34 | 113.561 | 680 | 10 | 1796.74 | 215.608 | 705 | 10 | 2148.18 | 257.782 | 730 | 10 | 15333.8 | 1840.06 | 760 | 10 | 19951.7 | 2394.2 | 810 | 10 | 19910.8 | 2389.29 | 860 | 10 | 21771.1 | 2612.54 | 900 | 10 | 5195.62 | 623.474 | 940 | 10 | 2614.41 | 313.729 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 27 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201736Z | 20.2933 | 20 | 20 | 410 | 10 | 2309.31 | 277.117 | 435 | 10 | 2104.17 | 252.5 | 460 | 10 | 2744.45 | 329.334 | 485 | 10 | 2069.3 | 248.316 | 510 | 10 | 2270.26 | 272.431 | 535 | 10 | 2237.83 | 268.539 | 560 | 10 | 1546.94 | 185.633 | 585 | 10 | 2096.13 | 251.535 | 610 | 10 | 3130.21 | 375.625 | 645 | 10 | 1367.14 | 164.057 | 680 | 10 | 1638.84 | 196.661 | 705 | 10 | 1325.38 | 159.045 | 730 | 10 | 10931.4 | 1311.77 | 760 | 10 | 10726.2 | 1287.15 | 810 | 10 | 11469.7 | 1376.36 | 860 | 10 | 11894.8 | 1427.38 | 900 | 10 | 3244.07 | 389.288 | 940 | 10 | 1801.76 | 216.211 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 28 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201737Z | 20.2936 | 20 | 20 | 410 | 10 | 2247.19 | 269.663 | 435 | 10 | 2148.43 | 257.811 | 460 | 10 | 2999.77 | 359.972 | 485 | 10 | 1997.12 | 239.655 | 510 | 10 | 2541.9 | 305.027 | 535 | 10 | 2747.51 | 329.701 | 560 | 10 | 1924.82 | 230.979 | 585 | 10 | 2353.08 | 282.37 | 610 | 10 | 3951.79 | 474.214 | 645 | 10 | 1284.98 | 154.198 | 680 | 10 | 2117.69 | 254.123 | 705 | 10 | 1583.8 | 190.056 | 730 | 10 | 12757.5 | 1530.9 | 760 | 10 | 12511.4 | 1501.37 | 810 | 10 | 13035.6 | 1564.27 | 860 | 10 | 12051.1 | 1446.13 | 900 | 10 | 3503.57 | 420.428 | 940 | 10 | 1905.88 | 228.705 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 29 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201739Z | 20.2942 | 20 | 20 | 410 | 10 | 1997.03 | 239.644 | 435 | 10 | 1892.5 | 227.1 | 460 | 10 | 2601.47 | 312.176 | 485 | 10 | 1926.65 | 231.197 | 510 | 10 | 2001.36 | 240.163 | 535 | 10 | 2208.65 | 265.037 | 560 | 10 | 1911.27 | 229.352 | 585 | 10 | 2062.42 | 247.491 | 610 | 10 | 3635 | 436.2 | 645 | 10 | 1156.93 | 138.831 | 680 | 10 | 2673.95 | 320.874 | 705 | 10 | 1915.23 | 229.827 | 730 | 10 | 9754.33 | 1170.52 | 760 | 10 | 11045.3 | 1325.44 | 810 | 10 | 13237 | 1588.44 | 860 | 10 | 15006 | 1800.72 | 900 | 10 | 3118.48 | 374.218 | 940 | 10 | 1520.29 | 182.435 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 30 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201740Z | 20.2944 | 20 | 20 | 410 | 10 | 2003.84 | 240.461 | 435 | 10 | 1720.28 | 206.434 | 460 | 10 | 2814.08 | 337.69 | 485 | 10 | 1949.57 | 233.948 | 510 | 10 | 2074.57 | 248.948 | 535 | 10 | 2587.99 | 310.559 | 560 | 10 | 2035.91 | 244.31 | 585 | 10 | 2056.53 | 246.783 | 610 | 10 | 3584.87 | 430.184 | 645 | 10 | 1257.59 | 150.911 | 680 | 10 | 4223 | 506.76 | 705 | 10 | 2519.34 | 302.321 | 730 | 10 | 9050.41 | 1086.05 | 760 | 10 | 11295.2 | 1355.42 | 810 | 10 | 13405.5 | 1608.66 | 860 | 10 | 16554.5 | 1986.54 | 900 | 10 | 3254.62 | 390.555 | 940 | 10 | 1490.29 | 178.835 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 31 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201742Z | 20.295 | 20 | 20 | 410 | 10 | 2034.47 | 244.136 | 435 | 10 | 1947.34 | 233.681 | 460 | 10 | 2524.41 | 302.929 | 485 | 10 | 1737.29 | 208.475 | 510 | 10 | 2029.41 | 243.529 | 535 | 10 | 2322.13 | 278.655 | 560 | 10 | 1851.35 | 222.162 | 585 | 10 | 2012.72 | 241.526 | 610 | 10 | 3366.08 | 403.93 | 645 | 10 | 1226.5 | 147.18 | 680 | 10 | 5309.71 | 637.165 | 705 | 10 | 2591.33 | 310.96 | 730 | 10 | 8403.79 | 1008.45 | 760 | 10 | 11605.2 | 1392.63 | 810 | 10 | 14372.6 | 1724.71 | 860 | 10 | 17253.6 | 2070.43 | 900 | 10 | 3136.26 | 376.352 | 940 | 10 | 1457.64 | 174.917 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 32 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201744Z | 20.2956 | 20 | 20 | 410 | 10 | 2155.29 | 258.635 | 435 | 10 | 1736.64 | 208.397 | 460 | 10 | 2511.41 | 301.37 | 485 | 10 | 2007.31 | 240.877 | 510 | 10 | 2155.31 | 258.637 | 535 | 10 | 2348.71 | 281.845 | 560 | 10 | 2108.95 | 253.074 | 585 | 10 | 2289.9 | 274.788 | 610 | 10 | 3469.78 | 416.373 | 645 | 10 | 1369.73 | 164.368 | 680 | 10 | 2372.6 | 284.712 | 705 | 10 | 1983.14 | 237.977 | 730 | 10 | 10578.3 | 1269.4 | 760 | 10 | 11123.7 | 1334.84 | 810 | 10 | 13954.3 | 1674.52 | 860 | 10 | 14545.4 | 1745.45 | 900 | 10 | 3245.73 | 389.488 | 940 | 10 | 1616.47 | 193.976 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 33 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201745Z | 20.2958 | 20 | 20 | 410 | 10 | 1996.18 | 239.542 | 435 | 10 | 1609.64 | 193.156 | 460 | 10 | 2650.68 | 318.081 | 485 | 10 | 1796.73 | 215.608 | 510 | 10 | 1726.3 | 207.156 | 535 | 10 | 2123.05 | 254.766 | 560 | 10 | 2002.24 | 240.268 | 585 | 10 | 1781.87 | 213.825 | 610 | 10 | 2790.64 | 334.876 | 645 | 10 | 1080.32 | 129.638 | 680 | 10 | 4831.89 | 579.826 | 705 | 10 | 2307.44 | 276.893 | 730 | 10 | 7673.2 | 920.783 | 760 | 10 | 10633 | 1275.96 | 810 | 10 | 13013.8 | 1561.66 | 860 | 10 | 16319.6 | 1958.34 | 900 | 10 | 3017.35 | 362.082 | 940 | 10 | 1429.41 | 171.529 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 34 | Big Leaf | ./photos/Big Leaf.jpg | 4 | Friday | 20240531T201823Z | 20.3064 | 20 | 20 | 410 | 10 | 2424.18 | 290.901 | 435 | 10 | 2245.6 | 269.472 | 460 | 10 | 3351.65 | 402.198 | 485 | 10 | 1900.32 | 228.039 | 510 | 10 | 1937.72 | 232.527 | 535 | 10 | 2134.72 | 256.166 | 560 | 10 | 1437.6 | 172.512 | 585 | 10 | 1727.53 | 207.304 | 610 | 10 | 2379.28 | 285.513 | 645 | 10 | 867.88 | 104.146 | 680 | 10 | 1394.25 | 167.31 | 705 | 10 | 1260.52 | 151.262 | 730 | 10 | 9945.8 | 1193.5 | 760 | 10 | 11797.3 | 1415.68 | 810 | 10 | 11487.4 | 1378.49 | 860 | 10 | 12308.4 | 1477.01 | 900 | 10 | 3231.28 | 387.754 | 940 | 10 | 1773.53 | 212.823 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 35 | Big Leaf | ./photos/Big Leaf.jpg | 4 | Friday | 20240531T201825Z | 20.3069 | 20 | 20 | 410 | 10 | 2423.32 | 290.799 | 435 | 10 | 2240.79 | 268.895 | 460 | 10 | 3364.64 | 403.757 | 485 | 10 | 1945.33 | 233.439 | 510 | 10 | 1957.57 | 234.908 | 535 | 10 | 2184 | 262.08 | 560 | 10 | 1569.25 | 188.31 | 585 | 10 | 1811.78 | 217.414 | 610 | 10 | 2569.57 | 308.349 | 645 | 10 | 906.37 | 108.764 | 680 | 10 | 1467.52 | 176.103 | 705 | 10 | 1316.21 | 157.945 | 730 | 10 | 10448 | 1253.76 | 760 | 10 | 11986.2 | 1438.34 | 810 | 10 | 11917 | 1430.04 | 860 | 10 | 12545.7 | 1505.49 | 900 | 10 | 3220.17 | 386.42 | 940 | 10 | 1781.47 | 213.776 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 36 | Big Leaf | ./photos/Big Leaf.jpg | 5 | Friday | 20240531T201900Z | 20.3167 | 20 | 20 | 410 | 10 | 2676.89 | 321.227 | 435 | 10 | 2450.54 | 294.064 | 460 | 10 | 3739.73 | 448.768 | 485 | 10 | 2159.3 | 259.116 | 510 | 10 | 2392.05 | 287.046 | 535 | 10 | 3033.48 | 364.018 | 560 | 10 | 2203.42 | 264.411 | 585 | 10 | 2647.54 | 317.704 | 610 | 10 | 3903.93 | 468.471 | 645 | 10 | 1295.71 | 155.486 | 680 | 10 | 2271.46 | 272.575 | 705 | 10 | 2199.79 | 263.975 | 730 | 10 | 16055 | 1926.6 | 760 | 10 | 16412.6 | 1969.51 | 810 | 10 | 16351.9 | 1962.22 | 860 | 10 | 15339.7 | 1840.76 | 900 | 10 | 4037.02 | 484.443 | 940 | 10 | 2248.23 | 269.788 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 37 | Coral | ./photos/Coral.jpg | 6 | Friday | 20240531T201923Z | 20.3231 | 20 | 20 | 410 | 10 | 1631.15 | 195.738 | 435 | 10 | 1650.05 | 198.006 | 460 | 10 | 2908.78 | 349.054 | 485 | 10 | 1356.04 | 162.725 | 510 | 10 | 1458.77 | 175.052 | 535 | 10 | 1688.58 | 202.63 | 560 | 10 | 1015.55 | 121.866 | 585 | 10 | 1474.79 | 176.974 | 610 | 10 | 3243.02 | 389.162 | 645 | 10 | 1328.28 | 159.394 | 680 | 10 | 3515.04 | 421.805 | 705 | 10 | 1643.22 | 197.187 | 730 | 10 | 7420.51 | 890.461 | 760 | 10 | 9207.32 | 1104.88 | 810 | 10 | 7781.85 | 933.822 | 860 | 10 | 8096.33 | 971.559 | 900 | 10 | 2477.23 | 297.267 | 940 | 10 | 1282.94 | 153.953 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 38 | Coral | ./photos/Coral.jpg | 6 | Friday | 20240531T201925Z | 20.3236 | 20 | 20 | 410 | 10 | 1855.78 | 222.694 | 435 | 10 | 2537.13 | 304.455 | 460 | 10 | 4879.85 | 585.582 | 485 | 10 | 1422.27 | 170.672 | 510 | 10 | 2805.32 | 336.639 | 535 | 10 | 4076.2 | 489.144 | 560 | 10 | 1701.33 | 204.16 | 585 | 10 | 1577.57 | 189.308 | 610 | 10 | 3620.19 | 434.423 | 645 | 10 | 1425.25 | 171.03 | 680 | 10 | 3510.91 | 421.309 | 705 | 10 | 2613.74 | 313.649 | 730 | 10 | 8332.38 | 999.885 | 760 | 10 | 8518.79 | 1022.25 | 810 | 10 | 7527.99 | 903.359 | 860 | 10 | 7767.36 | 932.082 | 900 | 10 | 2283.85 | 274.062 | 940 | 10 | 1296.17 | 155.541 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 39 | Coral | ./photos/Coral.jpg | 6 | Friday | 20240531T201927Z | 20.3242 | 20 | 20 | 410 | 10 | 1863.44 | 223.613 | 435 | 10 | 2710.31 | 325.237 | 460 | 10 | 5369.13 | 644.296 | 485 | 10 | 1463.88 | 175.665 | 510 | 10 | 3024.27 | 362.913 | 535 | 10 | 4036 | 484.32 | 560 | 10 | 2168.43 | 260.212 | 585 | 10 | 1880.45 | 225.654 | 610 | 10 | 2256.21 | 270.745 | 645 | 10 | 1166.92 | 140.03 | 680 | 10 | 7854.65 | 942.559 | 705 | 10 | 2572.99 | 308.759 | 730 | 10 | 7638.67 | 916.64 | 760 | 10 | 8659.8 | 1039.17 | 810 | 10 | 7385.34 | 886.241 | 860 | 10 | 7859 | 943.08 | 900 | 10 | 2263.84 | 271.661 | 940 | 10 | 1314.7 | 157.764 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 40 | Piny Green | ./photos/Piny Green.jpg | 8 | Friday | 20240531T202007Z | 20.3353 | 20 | 20 | 410 | 10 | 2094.03 | 251.284 | 435 | 10 | 1830.93 | 219.711 | 460 | 10 | 3041.55 | 364.986 | 485 | 10 | 1508.03 | 180.964 | 510 | 10 | 1562.77 | 187.532 | 535 | 10 | 2014.11 | 241.693 | 560 | 10 | 1263.1 | 151.572 | 585 | 10 | 1390.96 | 166.915 | 610 | 10 | 1958.8 | 235.056 | 645 | 10 | 797.561 | 95.707 | 680 | 10 | 2786.44 | 334.372 | 705 | 10 | 1385.48 | 166.258 | 730 | 10 | 9604.44 | 1152.53 | 760 | 10 | 9179.29 | 1101.51 | 810 | 10 | 9981.98 | 1197.84 | 860 | 10 | 10919.6 | 1310.36 | 900 | 10 | 2404.99 | 288.598 | 940 | 10 | 1439.11 | 172.694 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 41 | Piny Green | ./photos/Piny Green.jpg | 8 | Friday | 20240531T202008Z | 20.3355 | 20 | 20 | 410 | 10 | 2100.84 | 252.101 | 435 | 10 | 1841.51 | 220.981 | 460 | 10 | 3071.26 | 368.551 | 485 | 10 | 1505.48 | 180.658 | 510 | 10 | 1573.72 | 188.846 | 535 | 10 | 2058.85 | 247.062 | 560 | 10 | 1267.91 | 152.149 | 585 | 10 | 1392.22 | 167.066 | 610 | 10 | 1915.5 | 229.86 | 645 | 10 | 797.931 | 95.752 | 680 | 10 | 2740 | 328.799 | 705 | 10 | 1399.41 | 167.929 | 730 | 10 | 9628.77 | 1155.45 | 760 | 10 | 9248.55 | 1109.83 | 810 | 10 | 10007 | 1200.84 | 860 | 10 | 11047.7 | 1325.73 | 900 | 10 | 2424.44 | 290.932 | 940 | 10 | 1447.94 | 173.752 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 42 | Piny Green | ./photos/Piny Green.jpg | 8 | Friday | 20240531T202010Z | 20.3361 | 20 | 20 | 410 | 10 | 2117.01 | 254.041 | 435 | 10 | 1865.56 | 223.868 | 460 | 10 | 3138.11 | 376.573 | 485 | 10 | 1546.24 | 185.549 | 510 | 10 | 1603.14 | 192.377 | 535 | 10 | 2082.2 | 249.863 | 560 | 10 | 1256.54 | 150.784 | 585 | 10 | 1418.76 | 170.251 | 610 | 10 | 1981.59 | 237.791 | 645 | 10 | 808.294 | 96.995 | 680 | 10 | 2922.66 | 350.719 | 705 | 10 | 1435.74 | 172.289 | 730 | 10 | 9693.9 | 1163.27 | 760 | 10 | 9166.09 | 1099.93 | 810 | 10 | 9977.14 | 1197.26 | 860 | 10 | 10743.4 | 1289.21 | 900 | 10 | 2403.88 | 288.465 | 940 | 10 | 1437.35 | 172.482 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 43 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202039Z | 20.3442 | 20 | 20 | 410 | 10 | 1798.77 | 215.853 | 435 | 10 | 1663.52 | 199.622 | 460 | 10 | 2961.7 | 355.404 | 485 | 10 | 1667.66 | 200.12 | 510 | 10 | 1925.41 | 231.049 | 535 | 10 | 2219.02 | 266.282 | 560 | 10 | 1738.51 | 208.621 | 585 | 10 | 1700.15 | 204.018 | 610 | 10 | 2036.29 | 244.354 | 645 | 10 | 685.051 | 82.206 | 680 | 10 | 1798.8 | 215.856 | 705 | 10 | 1664.62 | 199.754 | 730 | 10 | 8936.63 | 1072.4 | 760 | 10 | 12711 | 1525.32 | 810 | 10 | 14164.6 | 1699.76 | 860 | 10 | 16472.3 | 1976.67 | 900 | 10 | 3464.11 | 415.694 | 940 | 10 | 1528.23 | 183.388 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 44 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202040Z | 20.3444 | 20 | 20 | 410 | 10 | 1831.11 | 219.733 | 435 | 10 | 1691.42 | 202.97 | 460 | 10 | 3008.13 | 360.975 | 485 | 10 | 1683.8 | 202.056 | 510 | 10 | 1929.51 | 231.542 | 535 | 10 | 2241.07 | 268.928 | 560 | 10 | 1742.44 | 209.093 | 585 | 10 | 1700.99 | 204.119 | 610 | 10 | 2014.64 | 241.756 | 645 | 10 | 689.863 | 82.783 | 680 | 10 | 1858.66 | 223.039 | 705 | 10 | 1651.03 | 198.124 | 730 | 10 | 8960.95 | 1075.31 | 760 | 10 | 12575.8 | 1509.09 | 810 | 10 | 14109.8 | 1693.18 | 860 | 10 | 16336 | 1960.32 | 900 | 10 | 3467.45 | 416.094 | 940 | 10 | 1535.29 | 184.235 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 45 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202042Z | 20.345 | 20 | 20 | 410 | 10 | 1853.23 | 222.388 | 435 | 10 | 1717.4 | 206.087 | 460 | 10 | 3021.12 | 362.535 | 485 | 10 | 1711.82 | 205.418 | 510 | 10 | 1953.46 | 234.415 | 535 | 10 | 2278.03 | 273.364 | 560 | 10 | 1771.75 | 212.61 | 585 | 10 | 1722.9 | 206.748 | 610 | 10 | 2047.68 | 245.722 | 645 | 10 | 700.966 | 84.116 | 680 | 10 | 1894.78 | 227.373 | 705 | 10 | 1678.88 | 201.466 | 730 | 10 | 9198.73 | 1103.85 | 760 | 10 | 12836.3 | 1540.36 | 810 | 10 | 14292.8 | 1715.13 | 860 | 10 | 16437 | 1972.44 | 900 | 10 | 3525.24 | 423.029 | 940 | 10 | 1567.94 | 188.152 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 46 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202044Z | 20.3456 | 20 | 20 | 410 | 10 | 1826.85 | 219.222 | 435 | 10 | 1700.08 | 204.009 | 460 | 10 | 3161.32 | 379.358 | 485 | 10 | 1671.06 | 200.527 | 510 | 10 | 1948.67 | 233.841 | 535 | 10 | 2273.49 | 272.819 | 560 | 10 | 1746.82 | 209.618 | 585 | 10 | 1723.74 | 206.849 | 610 | 10 | 2048.82 | 245.859 | 645 | 10 | 701.335 | 84.16 | 680 | 10 | 1928.83 | 231.46 | 705 | 10 | 1669.71 | 200.365 | 730 | 10 | 9120.26 | 1094.43 | 760 | 10 | 12570 | 1508.4 | 810 | 10 | 14273.4 | 1712.81 | 860 | 10 | 16331.3 | 1959.75 | 900 | 10 | 3453 | 414.36 | 940 | 10 | 1552.06 | 186.247 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 47 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202108Z | 20.3522 | 20 | 20 | 410 | 10 | 2721.98 | 326.638 | 435 | 10 | 2656.43 | 318.772 | 460 | 10 | 4260.58 | 511.27 | 485 | 10 | 2417.43 | 290.092 | 510 | 10 | 2561.74 | 307.409 | 535 | 10 | 3053.58 | 366.43 | 560 | 10 | 1875.4 | 225.048 | 585 | 10 | 2225.45 | 267.054 | 610 | 10 | 3519.92 | 422.39 | 645 | 10 | 1239.46 | 148.735 | 680 | 10 | 3560.45 | 427.254 | 705 | 10 | 2158.71 | 259.045 | 730 | 10 | 12424 | 1490.88 | 760 | 10 | 14775.8 | 1773.09 | 810 | 10 | 14651.4 | 1758.17 | 860 | 10 | 14167.1 | 1700.05 | 900 | 10 | 3806.97 | 456.836 | 940 | 10 | 1950 | 234 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 48 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202110Z | 20.3528 | 20 | 20 | 410 | 10 | 2708.37 | 325.005 | 435 | 10 | 2640.07 | 316.809 | 460 | 10 | 4173.31 | 500.797 | 485 | 10 | 2384.32 | 286.118 | 510 | 10 | 2561.74 | 307.409 | 535 | 10 | 2986.79 | 358.415 | 560 | 10 | 1875.4 | 225.048 | 585 | 10 | 2228.4 | 267.408 | 610 | 10 | 3498.26 | 419.792 | 645 | 10 | 1229.09 | 147.491 | 680 | 10 | 3414.93 | 409.792 | 705 | 10 | 2154.63 | 258.556 | 730 | 10 | 12544.1 | 1505.29 | 760 | 10 | 14971.2 | 1796.54 | 810 | 10 | 14653 | 1758.36 | 860 | 10 | 14408 | 1728.96 | 900 | 10 | 3869.21 | 464.305 | 940 | 10 | 1971.17 | 236.541 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 49 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202111Z | 20.3531 | 20 | 20 | 410 | 10 | 2704.12 | 324.494 | 435 | 10 | 2646.81 | 317.617 | 460 | 10 | 4249.44 | 509.933 | 485 | 10 | 2419.13 | 290.296 | 510 | 10 | 2571.32 | 308.558 | 535 | 10 | 3074.98 | 368.998 | 560 | 10 | 1892.9 | 227.148 | 585 | 10 | 2236.82 | 268.418 | 610 | 10 | 3509.66 | 421.159 | 645 | 10 | 1230.95 | 147.713 | 680 | 10 | 3479.95 | 417.594 | 705 | 10 | 2161.08 | 259.33 | 730 | 10 | 12466.4 | 1495.97 | 760 | 10 | 14876.4 | 1785.16 | 810 | 10 | 14719.9 | 1766.39 | 860 | 10 | 14361 | 1723.32 | 900 | 10 | 3813.64 | 457.636 | 940 | 10 | 1940.29 | 232.835 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 50 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202113Z | 20.3536 | 20 | 20 | 410 | 10 | 2718.58 | 326.23 | 435 | 10 | 2642 | 317.04 | 460 | 10 | 4189.09 | 502.691 | 485 | 10 | 2416.58 | 289.99 | 510 | 10 | 2576.11 | 309.133 | 535 | 10 | 3049.05 | 365.885 | 560 | 10 | 1895.52 | 227.463 | 585 | 10 | 2242.3 | 269.076 | 610 | 10 | 3523.33 | 422.8 | 645 | 10 | 1239.83 | 148.779 | 680 | 10 | 3437.64 | 412.516 | 705 | 10 | 2176.36 | 261.164 | 730 | 10 | 12568.4 | 1508.21 | 760 | 10 | 14976.1 | 1797.13 | 810 | 10 | 14668.3 | 1760.2 | 860 | 10 | 14314 | 1717.68 | 900 | 10 | 3858.09 | 462.971 | 940 | 10 | 1968.52 | 236.223 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 51 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202135Z | 20.3597 | 20 | 20 | 410 | 10 | 2399.5 | 287.94 | 435 | 10 | 2761.3 | 331.356 | 460 | 10 | 4372 | 524.639 | 485 | 10 | 2558.39 | 307.006 | 510 | 10 | 2864.17 | 343.7 | 535 | 10 | 3244.23 | 389.308 | 560 | 10 | 2327.2 | 279.263 | 585 | 10 | 2398.58 | 287.83 | 610 | 10 | 4399.61 | 527.953 | 645 | 10 | 1548.49 | 185.819 | 680 | 10 | 3333.4 | 400.008 | 705 | 10 | 2111.5 | 253.381 | 730 | 10 | 12712.8 | 1525.54 | 760 | 10 | 15412.3 | 1849.48 | 810 | 10 | 14896.4 | 1787.57 | 860 | 10 | 15503 | 1860.36 | 900 | 10 | 3944.78 | 473.373 | 940 | 10 | 2054.11 | 246.494 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 52 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202137Z | 20.3603 | 20 | 20 | 410 | 10 | 2350.15 | 282.018 | 435 | 10 | 2644.89 | 317.386 | 460 | 10 | 4345.07 | 521.408 | 485 | 10 | 2619.52 | 314.343 | 510 | 10 | 2829.95 | 339.594 | 535 | 10 | 3314.26 | 397.712 | 560 | 10 | 2407.67 | 288.92 | 585 | 10 | 2516.53 | 301.984 | 610 | 10 | 4633.21 | 555.985 | 645 | 10 | 1535.17 | 184.22 | 680 | 10 | 3400.48 | 408.058 | 705 | 10 | 2107.09 | 252.851 | 730 | 10 | 11869.2 | 1424.3 | 760 | 10 | 14925 | 1791 | 810 | 10 | 14770.7 | 1772.48 | 860 | 10 | 14988.4 | 1798.6 | 900 | 10 | 3869.21 | 464.305 | 940 | 10 | 1968.52 | 236.223 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 53 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202138Z | 20.3605 | 20 | 20 | 410 | 10 | 2335.68 | 280.282 | 435 | 10 | 2136.88 | 256.426 | 460 | 10 | 3038.76 | 364.652 | 485 | 10 | 2932.85 | 351.942 | 510 | 10 | 2807.38 | 336.885 | 535 | 10 | 3028.29 | 363.395 | 560 | 10 | 2170.18 | 260.422 | 585 | 10 | 2656.38 | 318.766 | 610 | 10 | 5496.95 | 659.633 | 645 | 10 | 1856.78 | 222.814 | 680 | 10 | 3204.4 | 384.528 | 705 | 10 | 1891.12 | 226.934 | 730 | 10 | 12241.2 | 1468.94 | 760 | 10 | 13514.1 | 1621.69 | 810 | 10 | 13965.6 | 1675.87 | 860 | 10 | 13596.1 | 1631.53 | 900 | 10 | 3449.11 | 413.893 | 940 | 10 | 1732.94 | 207.952 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 54 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202140Z | 20.3611 | 20 | 20 | 410 | 10 | 2690.5 | 322.86 | 435 | 10 | 2481.32 | 297.759 | 460 | 10 | 3703.52 | 444.423 | 485 | 10 | 2980.4 | 357.648 | 510 | 10 | 2879.9 | 345.588 | 535 | 10 | 3145.02 | 377.402 | 560 | 10 | 2232.73 | 267.927 | 585 | 10 | 2626.05 | 315.126 | 610 | 10 | 5005.82 | 600.699 | 645 | 10 | 1875.66 | 225.079 | 680 | 10 | 3139.39 | 376.726 | 705 | 10 | 1946.13 | 233.536 | 730 | 10 | 12756.7 | 1530.81 | 760 | 10 | 13907.5 | 1668.9 | 810 | 10 | 14519.2 | 1742.31 | 860 | 10 | 13664.2 | 1639.71 | 900 | 10 | 3573.58 | 428.83 | 940 | 10 | 1922.64 | 230.717 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 55 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202141Z | 20.3614 | 20 | 20 | 410 | 10 | 2753.47 | 330.416 | 435 | 10 | 2501.53 | 300.183 | 460 | 10 | 3744.37 | 449.325 | 485 | 10 | 3065.31 | 367.837 | 510 | 10 | 2928.48 | 351.418 | 535 | 10 | 3181.98 | 381.837 | 560 | 10 | 2290.02 | 274.802 | 585 | 10 | 2651.75 | 318.21 | 610 | 10 | 5000.13 | 600.015 | 645 | 10 | 1921.55 | 230.586 | 680 | 10 | 3172.41 | 380.689 | 705 | 10 | 2005.22 | 240.626 | 730 | 10 | 12844.6 | 1541.36 | 760 | 10 | 14101.2 | 1692.15 | 810 | 10 | 14802.1 | 1776.25 | 860 | 10 | 14167.1 | 1700.05 | 900 | 10 | 3627.48 | 435.298 | 940 | 10 | 1932.35 | 231.882 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 56 | Red Broad Leaf | ./photos/Red Broad Leaf.jpg | 12 | Friday | 20240531T202208Z | 20.3689 | 20 | 20 | 410 | 10 | 1956.19 | 234.742 | 435 | 10 | 1788.59 | 214.631 | 460 | 10 | 3154.82 | 378.578 | 485 | 10 | 1408.68 | 169.042 | 510 | 10 | 1462.87 | 175.545 | 535 | 10 | 1497.29 | 179.674 | 560 | 10 | 726.894 | 87.227 | 585 | 10 | 1116.3 | 133.956 | 610 | 10 | 1487.05 | 178.446 | 645 | 10 | 658.774 | 79.053 | 680 | 10 | 1959.79 | 235.175 | 705 | 10 | 1302.63 | 156.315 | 730 | 10 | 8291.57 | 994.988 | 760 | 10 | 11602.7 | 1392.33 | 810 | 10 | 10401.9 | 1248.22 | 860 | 10 | 11440.1 | 1372.82 | 900 | 10 | 3011.79 | 361.415 | 940 | 10 | 1506.17 | 180.741 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 57 | Red Broad Leaf | ./photos/Red Broad Leaf.jpg | 12 | Friday | 20240531T202209Z | 20.3692 | 20 | 20 | 410 | 10 | 1952.78 | 234.334 | 435 | 10 | 1808.8 | 217.056 | 460 | 10 | 3209.6 | 385.152 | 485 | 10 | 1410.38 | 169.246 | 510 | 10 | 1478.61 | 177.433 | 535 | 10 | 1509.61 | 181.153 | 560 | 10 | 729.08 | 87.49 | 585 | 10 | 1117.57 | 134.108 | 610 | 10 | 1496.16 | 179.54 | 645 | 10 | 663.956 | 79.675 | 680 | 10 | 2000.04 | 240.005 | 705 | 10 | 1284.97 | 154.196 | 730 | 10 | 8311.97 | 997.436 | 760 | 10 | 11689.3 | 1402.72 | 810 | 10 | 10443.8 | 1253.25 | 860 | 10 | 11451.9 | 1374.23 | 900 | 10 | 3040.69 | 364.882 | 940 | 10 | 1508.82 | 181.058 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 58 | Red Broad Leaf | ./photos/Red Broad Leaf.jpg | 12 | Friday | 20240531T202211Z | 20.3697 | 20 | 20 | 410 | 10 | 1971.5 | 236.58 | 435 | 10 | 1831.89 | 219.827 | 460 | 10 | 3280.16 | 393.619 | 485 | 10 | 1423.12 | 170.774 | 510 | 10 | 1483.4 | 178.008 | 535 | 10 | 1505.07 | 180.608 | 560 | 10 | 736.515 | 88.382 | 585 | 10 | 1130.63 | 135.675 | 610 | 10 | 1530.35 | 183.642 | 645 | 10 | 673.578 | 80.829 | 680 | 10 | 1969.08 | 236.29 | 705 | 10 | 1263.57 | 151.629 | 730 | 10 | 8476.77 | 1017.21 | 760 | 10 | 12009.3 | 1441.11 | 810 | 10 | 10615.4 | 1273.85 | 860 | 10 | 11650.4 | 1398.05 | 900 | 10 | 3093.48 | 371.217 | 940 | 10 | 1531.76 | 183.811 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 59 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202242Z | 20.3783 | 20 | 20 | 410 | 10 | 2324.62 | 278.955 | 435 | 10 | 1955.04 | 234.605 | 460 | 10 | 3035.05 | 364.206 | 485 | 10 | 1752.58 | 210.309 | 510 | 10 | 1687.98 | 202.558 | 535 | 10 | 1989.47 | 238.736 | 560 | 10 | 1293.71 | 155.246 | 585 | 10 | 1498.38 | 179.805 | 610 | 10 | 1865.36 | 223.843 | 645 | 10 | 735.384 | 88.246 | 680 | 10 | 1668.77 | 200.252 | 705 | 10 | 1379.37 | 165.525 | 730 | 10 | 9668.79 | 1160.25 | 760 | 10 | 11824.6 | 1418.95 | 810 | 10 | 12093.5 | 1451.21 | 860 | 10 | 13215.4 | 1585.85 | 900 | 10 | 3155.16 | 378.619 | 940 | 10 | 1637.64 | 196.517 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 60 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202244Z | 20.3789 | 20 | 20 | 410 | 10 | 2297.39 | 275.687 | 435 | 10 | 1949.27 | 233.912 | 460 | 10 | 3032.27 | 363.872 | 485 | 10 | 1758.52 | 211.022 | 510 | 10 | 1685.25 | 202.23 | 535 | 10 | 2001.79 | 240.214 | 560 | 10 | 1307.71 | 156.925 | 585 | 10 | 1510.59 | 181.271 | 610 | 10 | 1898.41 | 227.809 | 645 | 10 | 745.747 | 89.49 | 680 | 10 | 1601.69 | 192.202 | 705 | 10 | 1386.16 | 166.34 | 730 | 10 | 10051.7 | 1206.21 | 760 | 10 | 11822.9 | 1418.75 | 810 | 10 | 12034.6 | 1444.15 | 860 | 10 | 13257.7 | 1590.93 | 900 | 10 | 3166.27 | 379.952 | 940 | 10 | 1686.17 | 202.341 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 61 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202246Z | 20.3794 | 20 | 20 | 410 | 10 | 2277.82 | 273.339 | 435 | 10 | 1941.57 | 232.988 | 460 | 10 | 3054.55 | 366.546 | 485 | 10 | 1744.93 | 209.392 | 510 | 10 | 1695.51 | 203.461 | 535 | 10 | 2012.16 | 241.459 | 560 | 10 | 1302.9 | 156.348 | 585 | 10 | 1501.74 | 180.209 | 610 | 10 | 1804.97 | 216.596 | 645 | 10 | 738.715 | 88.646 | 680 | 10 | 1653.29 | 198.394 | 705 | 10 | 1402.46 | 168.296 | 730 | 10 | 9803.77 | 1176.45 | 760 | 10 | 11798.2 | 1415.78 | 810 | 10 | 12153.1 | 1458.37 | 860 | 10 | 13445.7 | 1613.48 | 900 | 10 | 3162.38 | 379.486 | 940 | 10 | 1667.64 | 200.117 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 62 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202247Z | 20.3797 | 20 | 20 | 410 | 10 | 2251.44 | 270.173 | 435 | 10 | 1923.29 | 230.795 | 460 | 10 | 3083.33 | 369.999 | 485 | 10 | 1724.56 | 206.947 | 510 | 10 | 1698.25 | 203.789 | 535 | 10 | 2034.86 | 244.183 | 560 | 10 | 1291.96 | 155.036 | 585 | 10 | 1495.43 | 179.451 | 610 | 10 | 1795.85 | 215.502 | 645 | 10 | 748.708 | 89.845 | 680 | 10 | 1629.55 | 195.546 | 705 | 10 | 1407.9 | 168.948 | 730 | 10 | 9899.5 | 1187.94 | 760 | 10 | 11803.1 | 1416.37 | 810 | 10 | 12105.6 | 1452.67 | 860 | 10 | 13356.4 | 1602.77 | 900 | 10 | 3175.16 | 381.019 | 940 | 10 | 1657.94 | 198.952 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 63 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202249Z | 20.3803 | 20 | 20 | 410 | 10 | 2314.41 | 277.729 | 435 | 10 | 1923.29 | 230.795 | 460 | 10 | 2959.85 | 355.182 | 485 | 10 | 1767.01 | 212.041 | 510 | 10 | 1675.67 | 201.08 | 535 | 10 | 1940.83 | 232.9 | 560 | 10 | 1266.16 | 151.939 | 585 | 10 | 1499.64 | 179.957 | 610 | 10 | 1884.73 | 226.168 | 645 | 10 | 742.787 | 89.134 | 680 | 10 | 1569.69 | 188.363 | 705 | 10 | 1348.81 | 161.857 | 730 | 10 | 9992.89 | 1199.15 | 760 | 10 | 11813 | 1417.56 | 810 | 10 | 12067.7 | 1448.12 | 860 | 10 | 13016.9 | 1562.02 | 900 | 10 | 3140.71 | 376.885 | 940 | 10 | 1652.64 | 198.317 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 64 | Red Plant | ./photos/Red Plant.jpg | 14 | Friday | 20240531T202316Z | 20.3878 | 20 | 20 | 410 | 10 | 1784.31 | 214.117 | 435 | 10 | 1408.55 | 169.026 | 460 | 10 | 1970.14 | 236.416 | 485 | 10 | 1057.15 | 126.858 | 510 | 10 | 947.651 | 113.718 | 535 | 10 | 793.712 | 95.245 | 560 | 10 | 491.156 | 58.939 | 585 | 10 | 835.333 | 100.24 | 610 | 10 | 1485.91 | 178.309 | 645 | 10 | 808.294 | 96.995 | 680 | 10 | 1471.65 | 176.598 | 705 | 10 | 770.506 | 92.461 | 730 | 10 | 7138 | 856.56 | 760 | 10 | 7936.63 | 952.396 | 810 | 10 | 7180.64 | 861.677 | 860 | 10 | 6464.38 | 775.725 | 900 | 10 | 2166.6 | 259.992 | 940 | 10 | 1312.94 | 157.553 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 65 | Red Plant | ./photos/Red Plant.jpg | 14 | Friday | 20240531T202318Z | 20.3883 | 20 | 20 | 410 | 10 | 1778.35 | 213.402 | 435 | 10 | 1401.82 | 168.218 | 460 | 10 | 1933.93 | 232.071 | 485 | 10 | 1046.96 | 125.635 | 510 | 10 | 931.914 | 111.83 | 535 | 10 | 791.766 | 95.012 | 560 | 10 | 478.473 | 57.417 | 585 | 10 | 817.64 | 98.117 | 610 | 10 | 1463.12 | 175.574 | 645 | 10 | 804.963 | 96.596 | 680 | 10 | 1438.63 | 172.635 | 705 | 10 | 722.285 | 86.674 | 730 | 10 | 6990.47 | 838.856 | 760 | 10 | 7671.95 | 920.633 | 810 | 10 | 7070.23 | 848.428 | 860 | 10 | 6138.92 | 736.671 | 900 | 10 | 2119.92 | 254.391 | 940 | 10 | 1289.11 | 154.694 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 66 | Red Plant | ./photos/Red Plant.jpg | 14 | Friday | 20240531T202320Z | 20.3889 | 20 | 20 | 410 | 10 | 1730.7 | 207.684 | 435 | 10 | 1380.65 | 165.678 | 460 | 10 | 1900.5 | 228.06 | 485 | 10 | 1014.69 | 121.763 | 510 | 10 | 932.599 | 111.912 | 535 | 10 | 772.312 | 92.677 | 560 | 10 | 467.976 | 56.157 | 585 | 10 | 803.318 | 96.398 | 610 | 10 | 1438.05 | 172.566 | 645 | 10 | 788.679 | 94.641 | 680 | 10 | 1355.03 | 162.604 | 705 | 10 | 711.419 | 85.37 | 730 | 10 | 6921.41 | 830.57 | 760 | 10 | 7585.36 | 910.243 | 810 | 10 | 6880.85 | 825.701 | 860 | 10 | 6042.58 | 725.11 | 900 | 10 | 2076.02 | 249.123 | 940 | 10 | 1276.76 | 153.211 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 67 | Leafy | ./photos/Leafy.jpg | 15 | Friday | 20240531T202340Z | 20.3944 | 20 | 20 | 410 | 10 | 2016.6 | 241.992 | 435 | 10 | 1771.27 | 212.553 | 460 | 10 | 2723.1 | 326.772 | 485 | 10 | 1731.35 | 207.762 | 510 | 10 | 1683.19 | 201.983 | 535 | 10 | 1750.19 | 210.022 | 560 | 10 | 1360.63 | 163.276 | 585 | 10 | 1580.1 | 189.612 | 610 | 10 | 2587.8 | 310.536 | 645 | 10 | 819.027 | 98.283 | 680 | 10 | 1274.54 | 152.944 | 705 | 10 | 1080.2 | 129.624 | 730 | 10 | 9386.29 | 1126.35 | 760 | 10 | 10687.5 | 1282.49 | 810 | 10 | 10822.5 | 1298.7 | 860 | 10 | 10358 | 1242.96 | 900 | 10 | 2805.63 | 336.676 | 940 | 10 | 1511.47 | 181.376 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 68 | Leafy | ./photos/Leafy.jpg | 15 | Friday | 20240531T202341Z | 20.3947 | 20 | 20 | 410 | 10 | 2017.45 | 242.094 | 435 | 10 | 1756.84 | 210.821 | 460 | 10 | 2716.6 | 325.992 | 485 | 10 | 1715.21 | 205.826 | 510 | 10 | 1672.93 | 200.752 | 535 | 10 | 1705.44 | 204.653 | 560 | 10 | 1348.82 | 161.858 | 585 | 10 | 1581.78 | 189.814 | 610 | 10 | 2610.59 | 313.271 | 645 | 10 | 817.916 | 98.15 | 680 | 10 | 1234.29 | 148.115 | 705 | 10 | 1044.89 | 125.386 | 730 | 10 | 9256.8 | 1110.82 | 760 | 10 | 10384.8 | 1246.18 | 810 | 10 | 10736.3 | 1288.36 | 860 | 10 | 10070.2 | 1208.42 | 900 | 10 | 2739.51 | 328.741 | 940 | 10 | 1490.29 | 178.835 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 69 | Leafy | ./photos/Leafy.jpg | 15 | Friday | 20240531T202343Z | 20.3953 | 20 | 20 | 410 | 10 | 2026.81 | 243.217 | 435 | 10 | 1771.27 | 212.553 | 460 | 10 | 2725.88 | 327.106 | 485 | 10 | 1732.2 | 207.864 | 510 | 10 | 1681.82 | 201.819 | 535 | 10 | 1745.65 | 209.478 | 560 | 10 | 1353.19 | 162.383 | 585 | 10 | 1586.84 | 190.42 | 610 | 10 | 2607.18 | 312.861 | 645 | 10 | 823.468 | 98.816 | 680 | 10 | 1245.64 | 149.477 | 705 | 10 | 1059.49 | 127.139 | 730 | 10 | 9286.62 | 1114.39 | 760 | 10 | 10516.8 | 1262.01 | 810 | 10 | 10786.3 | 1294.35 | 860 | 10 | 10132.5 | 1215.89 | 900 | 10 | 2771.18 | 332.542 | 940 | 10 | 1506.17 | 180.741 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 70 | Pink Flower | ./photos/Pink Flower.jpg | 16 | Friday | 20240531T202417Z | 20.4047 | 20 | 20 | 410 | 10 | 2417.37 | 290.084 | 435 | 10 | 1725.09 | 207.011 | 460 | 10 | 2470.56 | 296.467 | 485 | 10 | 1842.58 | 221.11 | 510 | 10 | 1425.24 | 171.029 | 535 | 10 | 1722.3 | 206.676 | 560 | 10 | 1021.24 | 122.548 | 585 | 10 | 1240.99 | 148.919 | 610 | 10 | 1936.01 | 232.321 | 645 | 10 | 1309.78 | 157.173 | 680 | 10 | 1632.65 | 195.917 | 705 | 10 | 1292.1 | 155.052 | 730 | 10 | 7145.06 | 857.408 | 760 | 10 | 10407.1 | 1248.85 | 810 | 10 | 11045.8 | 1325.49 | 860 | 10 | 12745.5 | 1529.46 | 900 | 10 | 2827.3 | 339.276 | 940 | 10 | 1318.23 | 158.188 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 71 | Pink Flower | ./photos/Pink Flower.jpg | 16 | Friday | 20240531T202418Z | 20.405 | 20 | 20 | 410 | 10 | 2550.96 | 306.115 | 435 | 10 | 1821.3 | 218.557 | 460 | 10 | 2474.28 | 296.913 | 485 | 10 | 2015.8 | 241.896 | 510 | 10 | 1445.08 | 173.41 | 535 | 10 | 1716.47 | 205.976 | 560 | 10 | 1018.61 | 122.234 | 585 | 10 | 1292.39 | 155.086 | 610 | 10 | 2274.44 | 272.933 | 645 | 10 | 1508.89 | 181.067 | 680 | 10 | 1648.13 | 197.775 | 705 | 10 | 1296.51 | 155.582 | 730 | 10 | 7243.15 | 869.179 | 760 | 10 | 10299.9 | 1235.99 | 810 | 10 | 11099 | 1331.88 | 860 | 10 | 12882.9 | 1545.95 | 900 | 10 | 2816.19 | 337.943 | 940 | 10 | 1327.94 | 159.353 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 72 | Pink Flower | ./photos/Pink Flower.jpg | 16 | Friday | 20240531T202420Z | 20.4055 | 20 | 20 | 410 | 10 | 2480.33 | 297.64 | 435 | 10 | 1721.24 | 206.549 | 460 | 10 | 2479.85 | 297.582 | 485 | 10 | 1878.25 | 225.389 | 510 | 10 | 1420.45 | 170.454 | 535 | 10 | 1711.28 | 205.353 | 560 | 10 | 1017.74 | 122.129 | 585 | 10 | 1251.1 | 150.132 | 610 | 10 | 2380.42 | 285.65 | 645 | 10 | 1431.54 | 171.785 | 680 | 10 | 1629.55 | 195.546 | 705 | 10 | 1288.36 | 154.604 | 730 | 10 | 7240.02 | 868.802 | 760 | 10 | 10339.5 | 1240.74 | 810 | 10 | 11032.9 | 1323.95 | 860 | 10 | 12810.1 | 1537.21 | 900 | 10 | 2822.3 | 338.676 | 940 | 10 | 1321.76 | 158.611 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 73 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202709Z | 20.4525 | 20 | 20 | 410 | 10 | 12239.2 | 1468.7 | 435 | 10 | 16012.7 | 1921.52 | 460 | 10 | 19880.6 | 2385.67 | 485 | 10 | 18382.5 | 2205.9 | 510 | 10 | 17609.2 | 2113.1 | 535 | 10 | 16400.1 | 1968.02 | 560 | 10 | 10050.1 | 1206.01 | 585 | 10 | 10829.4 | 1299.53 | 610 | 10 | 26659.7 | 3199.17 | 645 | 10 | 9716.92 | 1166.03 | 680 | 10 | 24171.8 | 2900.62 | 705 | 10 | 8035.13 | 964.215 | 730 | 10 | 20053.3 | 2406.39 | 760 | 10 | 18650.5 | 2238.06 | 810 | 10 | 18743 | 2249.16 | 860 | 10 | 18831.5 | 2259.78 | 900 | 10 | 4506.57 | 540.789 | 940 | 10 | 2669.11 | 320.293 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 74 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202710Z | 20.4528 | 20 | 20 | 410 | 10 | 12177.9 | 1461.35 | 435 | 10 | 15910.7 | 1909.28 | 460 | 10 | 19853.6 | 2382.44 | 485 | 10 | 18305.3 | 2196.63 | 510 | 10 | 17428.6 | 2091.43 | 535 | 10 | 16251 | 1950.12 | 560 | 10 | 10274 | 1232.88 | 585 | 10 | 10929.7 | 1311.56 | 610 | 10 | 27441.4 | 3292.97 | 645 | 10 | 9805 | 1176.6 | 680 | 10 | 23930.3 | 2871.64 | 705 | 10 | 8045.99 | 965.519 | 730 | 10 | 19909.7 | 2389.16 | 760 | 10 | 18452.6 | 2214.31 | 810 | 10 | 19004.1 | 2280.5 | 860 | 10 | 19253.3 | 2310.4 | 900 | 10 | 4498.24 | 539.789 | 940 | 10 | 2666.46 | 319.976 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 75 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202712Z | 20.4533 | 20 | 20 | 410 | 10 | 12204.3 | 1464.51 | 435 | 10 | 15829.9 | 1899.58 | 460 | 10 | 19524 | 2342.88 | 485 | 10 | 18691.6 | 2242.99 | 510 | 10 | 17657.8 | 2118.93 | 535 | 10 | 15865.8 | 1903.9 | 560 | 10 | 10554.8 | 1266.58 | 585 | 10 | 11061.9 | 1327.43 | 610 | 10 | 27501.8 | 3300.22 | 645 | 10 | 9733.95 | 1168.07 | 680 | 10 | 23279.1 | 2793.5 | 705 | 10 | 7971.97 | 956.636 | 730 | 10 | 19565.9 | 2347.91 | 760 | 10 | 18235.7 | 2188.28 | 810 | 10 | 19108.1 | 2292.97 | 860 | 10 | 19504.7 | 2340.57 | 900 | 10 | 4467.12 | 536.054 | 940 | 10 | 2622.35 | 314.682 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 76 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202713Z | 20.4536 | 20 | 20 | 410 | 10 | 12358.3 | 1482.99 | 435 | 10 | 16239.7 | 1948.77 | 460 | 10 | 19113.7 | 2293.64 | 485 | 10 | 18712 | 2245.44 | 510 | 10 | 17618.8 | 2114.25 | 535 | 10 | 14996.9 | 1799.62 | 560 | 10 | 10776.1 | 1293.13 | 585 | 10 | 11085.1 | 1330.21 | 610 | 10 | 27365.1 | 3283.81 | 645 | 10 | 9659.93 | 1159.19 | 680 | 10 | 18827 | 2259.24 | 705 | 10 | 7354.61 | 882.553 | 730 | 10 | 19706.4 | 2364.77 | 760 | 10 | 17200.9 | 2064.1 | 810 | 10 | 19201.6 | 2304.19 | 860 | 10 | 18763.4 | 2251.6 | 900 | 10 | 4308.75 | 517.05 | 940 | 10 | 2710.58 | 325.27 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 77 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202715Z | 20.4542 | 20 | 20 | 410 | 10 | 12401.7 | 1488.2 | 435 | 10 | 16261.9 | 1951.42 | 460 | 10 | 19323.5 | 2318.82 | 485 | 10 | 18801.1 | 2256.14 | 510 | 10 | 17700.2 | 2124.02 | 535 | 10 | 15232.9 | 1827.95 | 560 | 10 | 10763.9 | 1291.67 | 585 | 10 | 11094.4 | 1331.32 | 610 | 10 | 27408.4 | 3289.01 | 645 | 10 | 9693.61 | 1163.23 | 680 | 10 | 20588.7 | 2470.64 | 705 | 10 | 7472.11 | 896.652 | 730 | 10 | 19886.1 | 2386.33 | 760 | 10 | 17847.3 | 2141.68 | 810 | 10 | 19361.9 | 2323.43 | 860 | 10 | 19101.8 | 2292.21 | 900 | 10 | 4404.33 | 528.519 | 940 | 10 | 2708.82 | 325.058 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 78 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202716Z | 20.4544 | 20 | 20 | 410 | 10 | 12481.7 | 1497.8 | 435 | 10 | 16376.4 | 1965.16 | 460 | 10 | 19955.8 | 2394.69 | 485 | 10 | 18829.2 | 2259.5 | 510 | 10 | 17943.1 | 2153.17 | 535 | 10 | 16140.1 | 1936.81 | 560 | 10 | 10748.6 | 1289.83 | 585 | 10 | 11123.9 | 1334.86 | 610 | 10 | 27570.2 | 3308.42 | 645 | 10 | 9748.38 | 1169.8 | 680 | 10 | 20765.1 | 2491.82 | 705 | 10 | 7778.75 | 933.449 | 730 | 10 | 19924.6 | 2390.95 | 760 | 10 | 17924.8 | 2150.98 | 810 | 10 | 19388.5 | 2326.62 | 860 | 10 | 19631.6 | 2355.79 | 900 | 10 | 4431.55 | 531.786 | 940 | 10 | 2742.35 | 329.082 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 79 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202718Z | 20.455 | 20 | 20 | 410 | 10 | 12679.9 | 1521.59 | 435 | 10 | 16561.1 | 1987.33 | 460 | 10 | 20418.1 | 2450.17 | 485 | 10 | 19063.5 | 2287.62 | 510 | 10 | 18093 | 2171.15 | 535 | 10 | 16546.7 | 1985.6 | 560 | 10 | 10732.4 | 1287.89 | 585 | 10 | 11152.5 | 1338.3 | 610 | 10 | 27653.4 | 3318.4 | 645 | 10 | 9940.46 | 1192.85 | 680 | 10 | 22969.5 | 2756.34 | 705 | 10 | 8002.53 | 960.303 | 730 | 10 | 20388.4 | 2446.6 | 760 | 10 | 18845.1 | 2261.41 | 810 | 10 | 19529.6 | 2343.55 | 860 | 10 | 19870.1 | 2384.42 | 900 | 10 | 4572.14 | 548.657 | 940 | 10 | 2779.41 | 333.529 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 80 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202720Z | 20.4556 | 20 | 20 | 410 | 10 | 12610.1 | 1513.22 | 435 | 10 | 16480.3 | 1977.63 | 460 | 10 | 20336.4 | 2440.37 | 485 | 10 | 18901.3 | 2268.16 | 510 | 10 | 18021.8 | 2162.61 | 535 | 10 | 16364.5 | 1963.73 | 560 | 10 | 10725.4 | 1287.05 | 585 | 10 | 11132.7 | 1335.92 | 610 | 10 | 27696.7 | 3323.6 | 645 | 10 | 9889.39 | 1186.73 | 680 | 10 | 22925.2 | 2751.02 | 705 | 10 | 7938.69 | 952.642 | 730 | 10 | 20298.1 | 2435.77 | 760 | 10 | 18751.9 | 2250.23 | 810 | 10 | 19541.7 | 2345 | 860 | 10 | 19811.4 | 2377.37 | 900 | 10 | 4555.47 | 546.657 | 940 | 10 | 2770.58 | 332.47 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 81 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202721Z | 20.4558 | 20 | 20 | 410 | 10 | 12599.1 | 1511.89 | 435 | 10 | 16416.8 | 1970.01 | 460 | 10 | 20190.7 | 2422.88 | 485 | 10 | 18851.2 | 2262.15 | 510 | 10 | 17983.5 | 2158.02 | 535 | 10 | 16168 | 1940.16 | 560 | 10 | 10715.8 | 1285.89 | 585 | 10 | 11123.9 | 1334.86 | 610 | 10 | 27545.1 | 3305.42 | 645 | 10 | 9862 | 1183.44 | 680 | 10 | 22316.3 | 2677.95 | 705 | 10 | 7927.82 | 951.338 | 730 | 10 | 20179.6 | 2421.55 | 760 | 10 | 18619.1 | 2234.3 | 810 | 10 | 19512.6 | 2341.52 | 860 | 10 | 19806.7 | 2376.8 | 900 | 10 | 4541.58 | 544.99 | 940 | 10 | 2759.99 | 331.199 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 82 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202723Z | 20.4564 | 20 | 20 | 410 | 10 | 12484.2 | 1498.1 | 435 | 10 | 16332.1 | 1959.85 | 460 | 10 | 20021.7 | 2402.6 | 485 | 10 | 18722.2 | 2246.66 | 510 | 10 | 17925.3 | 2151.04 | 535 | 10 | 16037.6 | 1924.52 | 560 | 10 | 10704 | 1284.48 | 585 | 10 | 11091.9 | 1331.02 | 610 | 10 | 27573.6 | 3308.83 | 645 | 10 | 9779.1 | 1173.49 | 680 | 10 | 21910.7 | 2629.28 | 705 | 10 | 7848.02 | 941.762 | 730 | 10 | 20015.6 | 2401.87 | 760 | 10 | 18373.4 | 2204.81 | 810 | 10 | 19500.6 | 2340.07 | 860 | 10 | 19740.9 | 2368.91 | 900 | 10 | 4495.46 | 539.455 | 940 | 10 | 2735.29 | 328.234 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 83 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202724Z | 20.4567 | 20 | 20 | 410 | 10 | 12443.4 | 1493.2 | 435 | 10 | 16315.7 | 1957.89 | 460 | 10 | 19814.6 | 2377.76 | 485 | 10 | 18746.8 | 2249.61 | 510 | 10 | 17886.3 | 2146.36 | 535 | 10 | 15815.9 | 1897.9 | 560 | 10 | 10693.9 | 1283.27 | 585 | 10 | 11132.3 | 1335.88 | 610 | 10 | 27711.5 | 3325.38 | 645 | 10 | 9740.61 | 1168.87 | 680 | 10 | 22043.8 | 2645.26 | 705 | 10 | 7969.59 | 956.351 | 730 | 10 | 19997.5 | 2399.71 | 760 | 10 | 18375.1 | 2205.01 | 810 | 10 | 19545.7 | 2345.48 | 860 | 10 | 19899.5 | 2387.94 | 900 | 10 | 4467.12 | 536.054 | 940 | 10 | 2729.11 | 327.493 | 4.12 | 92