## data_Nick_HomeDepot
device_type | software_version | UID | Test_number | Test | ImageName | batch | weekday | timestamp_iso8601 | decimal_hour | bandwidth_FWHM_nm | field_of_view_FWHM_DEG | irradiance_410nm_purple_wavelength_nm | irradiance_410nm_purple_wavelength_uncertainty_nm | irradiance_410nm_purple_irradiance_uW_per_cm_squared | irradiance_410nm_purple_irradiance_uncertainty_uW_per_cm_squared | irradiance_435nm_blue_wavelength_nm | irradiance_435nm_blue_wavelength_uncertainty_nm | irradiance_435nm_blue_irradiance_uW_per_cm_squared | irradiance_435nm_blue_irradiance_uncertainty_uW_per_cm_squared | irradiance_460nm_dodgerblue_wavelength_nm | irradiance_460nm_dodgerblue_wavelength_uncertainty_nm | irradiance_460nm_dodgerblue_irradiance_uW_per_cm_squared | irradiance_460nm_dodgerblue_irradiance_uncertainty_uW_per_cm_squared | irradiance_485nm_cyan_wavelength_nm | irradiance_485nm_cyan_wavelength_uncertainty_nm | irradiance_485nm_cyan_irradiance_uW_per_cm_squared | irradiance_485nm_cyan_irradiance_uncertainty_uW_per_cm_squared | irradiance_510nm_green_wavelength_nm | irradiance_510nm_green_wavelength_uncertainty_nm | irradiance_510nm_green_irradiance_uW_per_cm_squared | irradiance_510nm_green_irradiance_uncertainty_uW_per_cm_squared | irradiance_535nm_aquamarine_wavelength_nm | irradiance_535nm_aquamarine_wavelength_uncertainty_nm | irradiance_535nm_aquamarine_irradiance_uW_per_cm_squared | irradiance_535nm_aquamarine_irradiance_uncertainty_uW_per_cm_squared | irradiance_560nm_limegreen_wavelength_nm | irradiance_560nm_limegreen_wavelength_uncertainty_nm | irradiance_560nm_limegreen_irradiance_uW_per_cm_squared | irradiance_560nm_limegreen_irradiance_uncertainty_uW_per_cm_squared | irradiance_585nm_yellow_wavelength_nm | irradiance_585nm_yellow_wavelength_uncertainty_nm | irradiance_585nm_yellow_irradiance_uW_per_cm_squared | irradiance_585nm_yellow_irradiance_uncertainty_uW_per_cm_squared | irradiance_610nm_orange_wavelength_nm | irradiance_610nm_orange_wavelength_uncertainty_nm | irradiance_610nm_orange_irradiance_uW_per_cm_squared | irradiance_610nm_orange_irradiance_uncertainty_uW_per_cm_squared | irradiance_645nm_red_wavelength_nm | irradiance_645nm_red_wavelength_uncertainty_nm | irradiance_645nm_red_irradiance_uW_per_cm_squared | irradiance_645nm_red_irradiance_uncertainty_uW_per_cm_squared | irradiance_680nm_black_wavelength_nm | irradiance_680nm_black_wavelength_uncertainty_nm | irradiance_680nm_black_irradiance_uW_per_cm_squared | irradiance_680nm_black_irradiance_uncertainty_uW_per_cm_squared | irradiance_705nm_brown_wavelength_nm | irradiance_705nm_brown_wavelength_uncertainty_nm | irradiance_705nm_brown_irradiance_uW_per_cm_squared | irradiance_705nm_brown_irradiance_uncertainty_uW_per_cm_squared | irradiance_730nm_gray_wavelength_nm | irradiance_730nm_gray_wavelength_uncertainty_nm | irradiance_730nm_gray_irradiance_uW_per_cm_squared | irradiance_730nm_gray_irradiance_uncertainty_uW_per_cm_squared | irradiance_760nm_silver_wavelength_nm | irradiance_760nm_silver_wavelength_uncertainty_nm | irradiance_760nm_silver_irradiance_uW_per_cm_squared | irradiance_760nm_silver_irradiance_uncertainty_uW_per_cm_squared | irradiance_810nm_lightgray_wavelength_nm | irradiance_810nm_lightgray_wavelength_uncertainty_nm | irradiance_810nm_lightgray_irradiance_uW_per_cm_squared | irradiance_810nm_lightgray_irradiance_uncertainty_uW_per_cm_squared | irradiance_860nm_linen_wavelength_nm | irradiance_860nm_linen_wavelength_uncertainty_nm | irradiance_860nm_linen_irradiance_uW_per_cm_squared | irradiance_860nm_linen_irradiance_uncertainty_uW_per_cm_squared | irradiance_900nm_wheat_wavelength_nm | irradiance_900nm_wheat_wavelength_uncertainty_nm | irradiance_900nm_wheat_irradiance_uW_per_cm_squared | irradiance_900nm_wheat_irradiance_uncertainty_uW_per_cm_squared | irradiance_940nm_gold_wavelength_nm | irradiance_940nm_gold_wavelength_uncertainty_nm | irradiance_940nm_gold_irradiance_uW_per_cm_squared | irradiance_940nm_gold_irradiance_uncertainty_uW_per_cm_squared | battery_voltage | battery_percent
STELLA-Q2 | 2.4.0 | 6858 | 0 | Asphalt | ./photos/Asphalt.jpg | 3 | Saturday | 20240427T215429Z | 21.908 | 20 | 20 | 410 | 10 | 661.99 | 79.439 | 435 | 10 | 867.838 | 104.141 | 460 | 10 | 1135.47 | 136.257 | 485 | 10 | 996.863 | 119.624 | 510 | 10 | 960.652 | 115.278 | 535 | 10 | 903.949 | 108.474 | 560 | 10 | 615.366 | 73.844 | 585 | 10 | 646.193 | 77.543 | 610 | 10 | 1540.6 | 184.872 | 645 | 10 | 552.926 | 66.351 | 680 | 10 | 1389.09 | 166.691 | 705 | 10 | 488.655 | 58.639 | 730 | 10 | 1318.36 | 158.204 | 760 | 10 | 1283.88 | 154.066 | 810 | 10 | 1413.56 | 169.628 | 860 | 10 | 1529.74 | 183.568 | 900 | 10 | 369.528 | 44.343 | 940 | 10 | 221.47 | 26.576 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 1 | Asphalt | ./photos/Asphalt.jpg | 3 | Saturday | 20240427T215430Z | 21.9083 | 20 | 20 | 410 | 10 | 658.586 | 79.03 | 435 | 10 | 863.99 | 103.679 | 460 | 10 | 1132.69 | 135.923 | 485 | 10 | 994.315 | 119.318 | 510 | 10 | 959.968 | 115.196 | 535 | 10 | 907.192 | 108.863 | 560 | 10 | 615.366 | 73.844 | 585 | 10 | 646.193 | 77.543 | 610 | 10 | 1525.79 | 183.095 | 645 | 10 | 551.816 | 66.218 | 680 | 10 | 1396.31 | 167.558 | 705 | 10 | 492.39 | 59.087 | 730 | 10 | 1316.01 | 157.921 | 760 | 10 | 1279.76 | 153.571 | 810 | 10 | 1402.28 | 168.274 | 860 | 10 | 1530.91 | 183.709 | 900 | 10 | 366.194 | 43.943 | 940 | 10 | 220.588 | 26.471 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 2 | Asphalt | ./photos/Asphalt.jpg | 3 | Saturday | 20240427T215432Z | 21.9089 | 20 | 20 | 410 | 10 | 659.437 | 79.132 | 435 | 10 | 863.99 | 103.679 | 460 | 10 | 1132.69 | 135.923 | 485 | 10 | 996.863 | 119.624 | 510 | 10 | 961.336 | 115.36 | 535 | 10 | 908.488 | 109.019 | 560 | 10 | 616.678 | 74.001 | 585 | 10 | 647.457 | 77.695 | 610 | 10 | 1526.93 | 183.232 | 645 | 10 | 552.186 | 66.262 | 680 | 10 | 1395.28 | 167.434 | 705 | 10 | 492.73 | 59.128 | 730 | 10 | 1316.01 | 157.921 | 760 | 10 | 1279.76 | 153.571 | 810 | 10 | 1405.5 | 168.66 | 860 | 10 | 1534.44 | 184.132 | 900 | 10 | 367.305 | 44.077 | 940 | 10 | 220.588 | 26.471 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 3 | Asphalt | ./photos/Asphalt.jpg | 3 | Saturday | 20240427T215433Z | 21.9092 | 20 | 20 | 410 | 10 | 656.884 | 78.826 | 435 | 10 | 861.103 | 103.332 | 460 | 10 | 1129.9 | 135.588 | 485 | 10 | 994.315 | 119.318 | 510 | 10 | 958.599 | 115.032 | 535 | 10 | 905.895 | 108.707 | 560 | 10 | 615.366 | 73.844 | 585 | 10 | 645.772 | 77.493 | 610 | 10 | 1524.65 | 182.958 | 645 | 10 | 551.076 | 66.129 | 680 | 10 | 1395.28 | 167.434 | 705 | 10 | 491.711 | 59.005 | 730 | 10 | 1314.44 | 157.733 | 760 | 10 | 1276.46 | 153.175 | 810 | 10 | 1403.09 | 168.37 | 860 | 10 | 1532.09 | 183.85 | 900 | 10 | 366.194 | 43.943 | 940 | 10 | 220.588 | 26.471 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 4 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201526Z | 20.2572 | 20 | 20 | 410 | 10 | 1541.81 | 185.017 | 435 | 10 | 2423.6 | 290.832 | 460 | 10 | 4098.11 | 491.773 | 485 | 10 | 2865.77 | 343.892 | 510 | 10 | 3490.92 | 418.91 | 535 | 10 | 4208.48 | 505.018 | 560 | 10 | 2969.68 | 356.362 | 585 | 10 | 2936.09 | 352.331 | 610 | 10 | 6530.47 | 783.657 | 645 | 10 | 1791.64 | 214.997 | 680 | 10 | 9211.75 | 1105.41 | 705 | 10 | 3047.73 | 365.727 | 730 | 10 | 5122.79 | 614.734 | 760 | 10 | 7148.33 | 857.8 | 810 | 10 | 7491.72 | 899.007 | 860 | 10 | 8430 | 1011.6 | 900 | 10 | 1930.44 | 231.652 | 940 | 10 | 879.704 | 105.564 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 5 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201529Z | 20.258 | 20 | 20 | 410 | 10 | 1482.24 | 177.869 | 435 | 10 | 2337.97 | 280.556 | 460 | 10 | 3934.7 | 472.164 | 485 | 10 | 2814.82 | 337.778 | 510 | 10 | 3417.7 | 410.124 | 535 | 10 | 4148.18 | 497.782 | 560 | 10 | 2830.16 | 339.619 | 585 | 10 | 2798.34 | 335.801 | 610 | 10 | 5744.22 | 689.306 | 645 | 10 | 1843.46 | 221.215 | 680 | 10 | 8940.34 | 1072.84 | 705 | 10 | 2939.74 | 352.769 | 730 | 10 | 5225.59 | 627.07 | 760 | 10 | 7161.53 | 859.383 | 810 | 10 | 7229.8 | 867.576 | 860 | 10 | 8213.82 | 985.658 | 900 | 10 | 1934.33 | 232.119 | 940 | 10 | 859.41 | 103.129 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 6 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201532Z | 20.2589 | 20 | 20 | 410 | 10 | 1649.87 | 197.984 | 435 | 10 | 2588.12 | 310.574 | 460 | 10 | 4091.61 | 490.993 | 485 | 10 | 3102.67 | 372.32 | 510 | 10 | 3466.28 | 415.954 | 535 | 10 | 4098.9 | 491.868 | 560 | 10 | 2764.12 | 331.694 | 585 | 10 | 2923.03 | 350.764 | 610 | 10 | 5573.29 | 668.795 | 645 | 10 | 1921.92 | 230.63 | 680 | 10 | 8742.19 | 1049.06 | 705 | 10 | 2826.66 | 339.199 | 730 | 10 | 5445.31 | 653.438 | 760 | 10 | 7220.07 | 866.408 | 810 | 10 | 7147.6 | 857.712 | 860 | 10 | 8031.71 | 963.805 | 900 | 10 | 1936.55 | 232.386 | 940 | 10 | 930.88 | 111.706 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 7 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201534Z | 20.2594 | 20 | 20 | 410 | 10 | 1485.65 | 178.278 | 435 | 10 | 2425.52 | 291.062 | 460 | 10 | 3956.06 | 474.727 | 485 | 10 | 2902.28 | 348.274 | 510 | 10 | 3388.28 | 406.594 | 535 | 10 | 3968.56 | 476.227 | 560 | 10 | 2488.14 | 298.577 | 585 | 10 | 2697.67 | 323.72 | 610 | 10 | 5200.68 | 624.081 | 645 | 10 | 1704.3 | 204.516 | 680 | 10 | 8443.94 | 1013.27 | 705 | 10 | 2745.5 | 329.46 | 730 | 10 | 4968.19 | 596.183 | 760 | 10 | 6843.23 | 821.188 | 810 | 10 | 6685.01 | 802.201 | 860 | 10 | 7291.52 | 874.982 | 900 | 10 | 1848.19 | 221.783 | 940 | 10 | 854.998 | 102.6 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 8 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201535Z | 20.2597 | 20 | 20 | 410 | 10 | 1655.82 | 198.699 | 435 | 10 | 2634.3 | 316.116 | 460 | 10 | 4096.25 | 491.55 | 485 | 10 | 3205.41 | 384.65 | 510 | 10 | 3457.39 | 414.886 | 535 | 10 | 3893.98 | 467.278 | 560 | 10 | 2345.13 | 281.415 | 585 | 10 | 2823.2 | 338.784 | 610 | 10 | 5943.63 | 713.236 | 645 | 10 | 1968.92 | 236.27 | 680 | 10 | 8377.88 | 1005.35 | 705 | 10 | 2646 | 317.52 | 730 | 10 | 5565.38 | 667.845 | 760 | 10 | 7047.73 | 845.728 | 810 | 10 | 6686.62 | 802.394 | 860 | 10 | 6771.03 | 812.523 | 900 | 10 | 1869.31 | 224.317 | 940 | 10 | 923.822 | 110.859 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 9 | Palm | ./photos/Palm.jpg | 1 | Friday | 20240531T201537Z | 20.2603 | 20 | 20 | 410 | 10 | 1619.24 | 194.308 | 435 | 10 | 2484.21 | 298.105 | 460 | 10 | 4060.04 | 487.205 | 485 | 10 | 2766.42 | 331.97 | 510 | 10 | 3311.65 | 397.398 | 535 | 10 | 3865.45 | 463.854 | 560 | 10 | 2289.15 | 274.697 | 585 | 10 | 2688.82 | 322.658 | 610 | 10 | 5246.26 | 629.551 | 645 | 10 | 1789.05 | 214.686 | 680 | 10 | 8219.99 | 986.398 | 705 | 10 | 2622.91 | 314.749 | 730 | 10 | 5055.3 | 606.636 | 760 | 10 | 6849.83 | 821.98 | 810 | 10 | 6443.23 | 773.188 | 860 | 10 | 6627.69 | 795.322 | 900 | 10 | 1833.19 | 219.983 | 940 | 10 | 917.645 | 110.117 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 10 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201616Z | 20.2711 | 20 | 20 | 410 | 10 | 2922.79 | 350.735 | 435 | 10 | 2711.27 | 325.353 | 460 | 10 | 4358.07 | 522.968 | 485 | 10 | 2185.63 | 262.275 | 510 | 10 | 2385.21 | 286.225 | 535 | 10 | 2861.64 | 343.397 | 560 | 10 | 1808.49 | 217.018 | 585 | 10 | 2099.92 | 251.99 | 610 | 10 | 2463.6 | 295.632 | 645 | 10 | 909.331 | 109.12 | 680 | 10 | 1744.1 | 209.292 | 705 | 10 | 1967.18 | 236.062 | 730 | 10 | 14885 | 1786.19 | 760 | 10 | 19298.6 | 2315.83 | 810 | 10 | 19108.9 | 2293.07 | 860 | 10 | 21777 | 2613.24 | 900 | 10 | 5032.8 | 603.936 | 940 | 10 | 2531.46 | 303.776 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 11 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201618Z | 20.2717 | 20 | 20 | 410 | 10 | 2878.55 | 345.426 | 435 | 10 | 2611.21 | 313.345 | 460 | 10 | 4264.3 | 511.716 | 485 | 10 | 2122.79 | 254.735 | 510 | 10 | 2312 | 277.439 | 535 | 10 | 2811.71 | 337.405 | 560 | 10 | 1818.11 | 218.173 | 585 | 10 | 2039.68 | 244.761 | 610 | 10 | 2388.39 | 286.607 | 645 | 10 | 932.277 | 111.873 | 680 | 10 | 1782.29 | 213.874 | 705 | 10 | 1955.64 | 234.677 | 730 | 10 | 14055.5 | 1686.66 | 760 | 10 | 18768.4 | 2252.21 | 810 | 10 | 18701.9 | 2244.23 | 860 | 10 | 21448 | 2573.77 | 900 | 10 | 4871.65 | 584.598 | 940 | 10 | 2442.35 | 293.082 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 12 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201619Z | 20.2719 | 20 | 20 | 410 | 10 | 2884.5 | 346.14 | 435 | 10 | 2613.14 | 313.576 | 460 | 10 | 4281.01 | 513.721 | 485 | 10 | 2139.77 | 256.773 | 510 | 10 | 2342.79 | 281.134 | 535 | 10 | 2817.55 | 338.106 | 560 | 10 | 1804.99 | 216.599 | 585 | 10 | 2032.09 | 243.851 | 610 | 10 | 2394.09 | 287.291 | 645 | 10 | 873.061 | 104.767 | 680 | 10 | 1736.88 | 208.425 | 705 | 10 | 1978.39 | 237.407 | 730 | 10 | 14170.8 | 1700.5 | 760 | 10 | 18971.2 | 2276.55 | 810 | 10 | 18932.4 | 2271.89 | 860 | 10 | 21384.6 | 2566.15 | 900 | 10 | 4942.22 | 593.067 | 940 | 10 | 2451.17 | 294.14 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 13 | Broad Leaf | ./photos/Broad Leaf.jpg | 2 | Friday | 20240531T201621Z | 20.2725 | 20 | 20 | 410 | 10 | 3166.15 | 379.938 | 435 | 10 | 2743.98 | 329.278 | 460 | 10 | 4209.52 | 505.142 | 485 | 10 | 2336.77 | 280.412 | 510 | 10 | 2515.21 | 301.825 | 535 | 10 | 3014.03 | 361.683 | 560 | 10 | 1864.03 | 223.684 | 585 | 10 | 2269.26 | 272.311 | 610 | 10 | 2469.3 | 296.316 | 645 | 10 | 946.34 | 113.561 | 680 | 10 | 1796.74 | 215.608 | 705 | 10 | 2148.18 | 257.782 | 730 | 10 | 15333.8 | 1840.06 | 760 | 10 | 19951.7 | 2394.2 | 810 | 10 | 19910.8 | 2389.29 | 860 | 10 | 21771.1 | 2612.54 | 900 | 10 | 5195.62 | 623.474 | 940 | 10 | 2614.41 | 313.729 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 14 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201740Z | 20.2944 | 20 | 20 | 410 | 10 | 2003.84 | 240.461 | 435 | 10 | 1720.28 | 206.434 | 460 | 10 | 2814.08 | 337.69 | 485 | 10 | 1949.57 | 233.948 | 510 | 10 | 2074.57 | 248.948 | 535 | 10 | 2587.99 | 310.559 | 560 | 10 | 2035.91 | 244.31 | 585 | 10 | 2056.53 | 246.783 | 610 | 10 | 3584.87 | 430.184 | 645 | 10 | 1257.59 | 150.911 | 680 | 10 | 4223 | 506.76 | 705 | 10 | 2519.34 | 302.321 | 730 | 10 | 9050.41 | 1086.05 | 760 | 10 | 11295.2 | 1355.42 | 810 | 10 | 13405.5 | 1608.66 | 860 | 10 | 16554.5 | 1986.54 | 900 | 10 | 3254.62 | 390.555 | 940 | 10 | 1490.29 | 178.835 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 15 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201742Z | 20.295 | 20 | 20 | 410 | 10 | 2034.47 | 244.136 | 435 | 10 | 1947.34 | 233.681 | 460 | 10 | 2524.41 | 302.929 | 485 | 10 | 1737.29 | 208.475 | 510 | 10 | 2029.41 | 243.529 | 535 | 10 | 2322.13 | 278.655 | 560 | 10 | 1851.35 | 222.162 | 585 | 10 | 2012.72 | 241.526 | 610 | 10 | 3366.08 | 403.93 | 645 | 10 | 1226.5 | 147.18 | 680 | 10 | 5309.71 | 637.165 | 705 | 10 | 2591.33 | 310.96 | 730 | 10 | 8403.79 | 1008.45 | 760 | 10 | 11605.2 | 1392.63 | 810 | 10 | 14372.6 | 1724.71 | 860 | 10 | 17253.6 | 2070.43 | 900 | 10 | 3136.26 | 376.352 | 940 | 10 | 1457.64 | 174.917 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 16 | Piney | ./photos/Piney.jpg | 3 | Friday | 20240531T201745Z | 20.2958 | 20 | 20 | 410 | 10 | 1996.18 | 239.542 | 435 | 10 | 1609.64 | 193.156 | 460 | 10 | 2650.68 | 318.081 | 485 | 10 | 1796.73 | 215.608 | 510 | 10 | 1726.3 | 207.156 | 535 | 10 | 2123.05 | 254.766 | 560 | 10 | 2002.24 | 240.268 | 585 | 10 | 1781.87 | 213.825 | 610 | 10 | 2790.64 | 334.876 | 645 | 10 | 1080.32 | 129.638 | 680 | 10 | 4831.89 | 579.826 | 705 | 10 | 2307.44 | 276.893 | 730 | 10 | 7673.2 | 920.783 | 760 | 10 | 10633 | 1275.96 | 810 | 10 | 13013.8 | 1561.66 | 860 | 10 | 16319.6 | 1958.34 | 900 | 10 | 3017.35 | 362.082 | 940 | 10 | 1429.41 | 171.529 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 17 | Big Leaf | ./photos/Big Leaf.jpg | 4 | Friday | 20240531T201823Z | 20.3064 | 20 | 20 | 410 | 10 | 2424.18 | 290.901 | 435 | 10 | 2245.6 | 269.472 | 460 | 10 | 3351.65 | 402.198 | 485 | 10 | 1900.32 | 228.039 | 510 | 10 | 1937.72 | 232.527 | 535 | 10 | 2134.72 | 256.166 | 560 | 10 | 1437.6 | 172.512 | 585 | 10 | 1727.53 | 207.304 | 610 | 10 | 2379.28 | 285.513 | 645 | 10 | 867.88 | 104.146 | 680 | 10 | 1394.25 | 167.31 | 705 | 10 | 1260.52 | 151.262 | 730 | 10 | 9945.8 | 1193.5 | 760 | 10 | 11797.3 | 1415.68 | 810 | 10 | 11487.4 | 1378.49 | 860 | 10 | 12308.4 | 1477.01 | 900 | 10 | 3231.28 | 387.754 | 940 | 10 | 1773.53 | 212.823 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 18 | Big Leaf | ./photos/Big Leaf.jpg | 4 | Friday | 20240531T201825Z | 20.3069 | 20 | 20 | 410 | 10 | 2423.32 | 290.799 | 435 | 10 | 2240.79 | 268.895 | 460 | 10 | 3364.64 | 403.757 | 485 | 10 | 1945.33 | 233.439 | 510 | 10 | 1957.57 | 234.908 | 535 | 10 | 2184 | 262.08 | 560 | 10 | 1569.25 | 188.31 | 585 | 10 | 1811.78 | 217.414 | 610 | 10 | 2569.57 | 308.349 | 645 | 10 | 906.37 | 108.764 | 680 | 10 | 1467.52 | 176.103 | 705 | 10 | 1316.21 | 157.945 | 730 | 10 | 10448 | 1253.76 | 760 | 10 | 11986.2 | 1438.34 | 810 | 10 | 11917 | 1430.04 | 860 | 10 | 12545.7 | 1505.49 | 900 | 10 | 3220.17 | 386.42 | 940 | 10 | 1781.47 | 213.776 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 19 | Coral | ./photos/Coral.jpg | 6 | Friday | 20240531T201923Z | 20.3231 | 20 | 20 | 410 | 10 | 1631.15 | 195.738 | 435 | 10 | 1650.05 | 198.006 | 460 | 10 | 2908.78 | 349.054 | 485 | 10 | 1356.04 | 162.725 | 510 | 10 | 1458.77 | 175.052 | 535 | 10 | 1688.58 | 202.63 | 560 | 10 | 1015.55 | 121.866 | 585 | 10 | 1474.79 | 176.974 | 610 | 10 | 3243.02 | 389.162 | 645 | 10 | 1328.28 | 159.394 | 680 | 10 | 3515.04 | 421.805 | 705 | 10 | 1643.22 | 197.187 | 730 | 10 | 7420.51 | 890.461 | 760 | 10 | 9207.32 | 1104.88 | 810 | 10 | 7781.85 | 933.822 | 860 | 10 | 8096.33 | 971.559 | 900 | 10 | 2477.23 | 297.267 | 940 | 10 | 1282.94 | 153.953 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 20 | Coral | ./photos/Coral.jpg | 6 | Friday | 20240531T201925Z | 20.3236 | 20 | 20 | 410 | 10 | 1855.78 | 222.694 | 435 | 10 | 2537.13 | 304.455 | 460 | 10 | 4879.85 | 585.582 | 485 | 10 | 1422.27 | 170.672 | 510 | 10 | 2805.32 | 336.639 | 535 | 10 | 4076.2 | 489.144 | 560 | 10 | 1701.33 | 204.16 | 585 | 10 | 1577.57 | 189.308 | 610 | 10 | 3620.19 | 434.423 | 645 | 10 | 1425.25 | 171.03 | 680 | 10 | 3510.91 | 421.309 | 705 | 10 | 2613.74 | 313.649 | 730 | 10 | 8332.38 | 999.885 | 760 | 10 | 8518.79 | 1022.25 | 810 | 10 | 7527.99 | 903.359 | 860 | 10 | 7767.36 | 932.082 | 900 | 10 | 2283.85 | 274.062 | 940 | 10 | 1296.17 | 155.541 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 21 | Coral | ./photos/Coral.jpg | 6 | Friday | 20240531T201927Z | 20.3242 | 20 | 20 | 410 | 10 | 1863.44 | 223.613 | 435 | 10 | 2710.31 | 325.237 | 460 | 10 | 5369.13 | 644.296 | 485 | 10 | 1463.88 | 175.665 | 510 | 10 | 3024.27 | 362.913 | 535 | 10 | 4036 | 484.32 | 560 | 10 | 2168.43 | 260.212 | 585 | 10 | 1880.45 | 225.654 | 610 | 10 | 2256.21 | 270.745 | 645 | 10 | 1166.92 | 140.03 | 680 | 10 | 7854.65 | 942.559 | 705 | 10 | 2572.99 | 308.759 | 730 | 10 | 7638.67 | 916.64 | 760 | 10 | 8659.8 | 1039.17 | 810 | 10 | 7385.34 | 886.241 | 860 | 10 | 7859 | 943.08 | 900 | 10 | 2263.84 | 271.661 | 940 | 10 | 1314.7 | 157.764 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 22 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202039Z | 20.3442 | 20 | 20 | 410 | 10 | 1798.77 | 215.853 | 435 | 10 | 1663.52 | 199.622 | 460 | 10 | 2961.7 | 355.404 | 485 | 10 | 1667.66 | 200.12 | 510 | 10 | 1925.41 | 231.049 | 535 | 10 | 2219.02 | 266.282 | 560 | 10 | 1738.51 | 208.621 | 585 | 10 | 1700.15 | 204.018 | 610 | 10 | 2036.29 | 244.354 | 645 | 10 | 685.051 | 82.206 | 680 | 10 | 1798.8 | 215.856 | 705 | 10 | 1664.62 | 199.754 | 730 | 10 | 8936.63 | 1072.4 | 760 | 10 | 12711 | 1525.32 | 810 | 10 | 14164.6 | 1699.76 | 860 | 10 | 16472.3 | 1976.67 | 900 | 10 | 3464.11 | 415.694 | 940 | 10 | 1528.23 | 183.388 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 23 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202040Z | 20.3444 | 20 | 20 | 410 | 10 | 1831.11 | 219.733 | 435 | 10 | 1691.42 | 202.97 | 460 | 10 | 3008.13 | 360.975 | 485 | 10 | 1683.8 | 202.056 | 510 | 10 | 1929.51 | 231.542 | 535 | 10 | 2241.07 | 268.928 | 560 | 10 | 1742.44 | 209.093 | 585 | 10 | 1700.99 | 204.119 | 610 | 10 | 2014.64 | 241.756 | 645 | 10 | 689.863 | 82.783 | 680 | 10 | 1858.66 | 223.039 | 705 | 10 | 1651.03 | 198.124 | 730 | 10 | 8960.95 | 1075.31 | 760 | 10 | 12575.8 | 1509.09 | 810 | 10 | 14109.8 | 1693.18 | 860 | 10 | 16336 | 1960.32 | 900 | 10 | 3467.45 | 416.094 | 940 | 10 | 1535.29 | 184.235 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 24 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202042Z | 20.345 | 20 | 20 | 410 | 10 | 1853.23 | 222.388 | 435 | 10 | 1717.4 | 206.087 | 460 | 10 | 3021.12 | 362.535 | 485 | 10 | 1711.82 | 205.418 | 510 | 10 | 1953.46 | 234.415 | 535 | 10 | 2278.03 | 273.364 | 560 | 10 | 1771.75 | 212.61 | 585 | 10 | 1722.9 | 206.748 | 610 | 10 | 2047.68 | 245.722 | 645 | 10 | 700.966 | 84.116 | 680 | 10 | 1894.78 | 227.373 | 705 | 10 | 1678.88 | 201.466 | 730 | 10 | 9198.73 | 1103.85 | 760 | 10 | 12836.3 | 1540.36 | 810 | 10 | 14292.8 | 1715.13 | 860 | 10 | 16437 | 1972.44 | 900 | 10 | 3525.24 | 423.029 | 940 | 10 | 1567.94 | 188.152 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 25 | More Green Plant | ./photos/More Green Plant.jpg | 9 | Friday | 20240531T202044Z | 20.3456 | 20 | 20 | 410 | 10 | 1826.85 | 219.222 | 435 | 10 | 1700.08 | 204.009 | 460 | 10 | 3161.32 | 379.358 | 485 | 10 | 1671.06 | 200.527 | 510 | 10 | 1948.67 | 233.841 | 535 | 10 | 2273.49 | 272.819 | 560 | 10 | 1746.82 | 209.618 | 585 | 10 | 1723.74 | 206.849 | 610 | 10 | 2048.82 | 245.859 | 645 | 10 | 701.335 | 84.16 | 680 | 10 | 1928.83 | 231.46 | 705 | 10 | 1669.71 | 200.365 | 730 | 10 | 9120.26 | 1094.43 | 760 | 10 | 12570 | 1508.4 | 810 | 10 | 14273.4 | 1712.81 | 860 | 10 | 16331.3 | 1959.75 | 900 | 10 | 3453 | 414.36 | 940 | 10 | 1552.06 | 186.247 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 26 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202108Z | 20.3522 | 20 | 20 | 410 | 10 | 2721.98 | 326.638 | 435 | 10 | 2656.43 | 318.772 | 460 | 10 | 4260.58 | 511.27 | 485 | 10 | 2417.43 | 290.092 | 510 | 10 | 2561.74 | 307.409 | 535 | 10 | 3053.58 | 366.43 | 560 | 10 | 1875.4 | 225.048 | 585 | 10 | 2225.45 | 267.054 | 610 | 10 | 3519.92 | 422.39 | 645 | 10 | 1239.46 | 148.735 | 680 | 10 | 3560.45 | 427.254 | 705 | 10 | 2158.71 | 259.045 | 730 | 10 | 12424 | 1490.88 | 760 | 10 | 14775.8 | 1773.09 | 810 | 10 | 14651.4 | 1758.17 | 860 | 10 | 14167.1 | 1700.05 | 900 | 10 | 3806.97 | 456.836 | 940 | 10 | 1950 | 234 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 27 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202110Z | 20.3528 | 20 | 20 | 410 | 10 | 2708.37 | 325.005 | 435 | 10 | 2640.07 | 316.809 | 460 | 10 | 4173.31 | 500.797 | 485 | 10 | 2384.32 | 286.118 | 510 | 10 | 2561.74 | 307.409 | 535 | 10 | 2986.79 | 358.415 | 560 | 10 | 1875.4 | 225.048 | 585 | 10 | 2228.4 | 267.408 | 610 | 10 | 3498.26 | 419.792 | 645 | 10 | 1229.09 | 147.491 | 680 | 10 | 3414.93 | 409.792 | 705 | 10 | 2154.63 | 258.556 | 730 | 10 | 12544.1 | 1505.29 | 760 | 10 | 14971.2 | 1796.54 | 810 | 10 | 14653 | 1758.36 | 860 | 10 | 14408 | 1728.96 | 900 | 10 | 3869.21 | 464.305 | 940 | 10 | 1971.17 | 236.541 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 28 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202111Z | 20.3531 | 20 | 20 | 410 | 10 | 2704.12 | 324.494 | 435 | 10 | 2646.81 | 317.617 | 460 | 10 | 4249.44 | 509.933 | 485 | 10 | 2419.13 | 290.296 | 510 | 10 | 2571.32 | 308.558 | 535 | 10 | 3074.98 | 368.998 | 560 | 10 | 1892.9 | 227.148 | 585 | 10 | 2236.82 | 268.418 | 610 | 10 | 3509.66 | 421.159 | 645 | 10 | 1230.95 | 147.713 | 680 | 10 | 3479.95 | 417.594 | 705 | 10 | 2161.08 | 259.33 | 730 | 10 | 12466.4 | 1495.97 | 760 | 10 | 14876.4 | 1785.16 | 810 | 10 | 14719.9 | 1766.39 | 860 | 10 | 14361 | 1723.32 | 900 | 10 | 3813.64 | 457.636 | 940 | 10 | 1940.29 | 232.835 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 29 | Green Plant | ./photos/Green Plant.jpg | 10 | Friday | 20240531T202113Z | 20.3536 | 20 | 20 | 410 | 10 | 2718.58 | 326.23 | 435 | 10 | 2642 | 317.04 | 460 | 10 | 4189.09 | 502.691 | 485 | 10 | 2416.58 | 289.99 | 510 | 10 | 2576.11 | 309.133 | 535 | 10 | 3049.05 | 365.885 | 560 | 10 | 1895.52 | 227.463 | 585 | 10 | 2242.3 | 269.076 | 610 | 10 | 3523.33 | 422.8 | 645 | 10 | 1239.83 | 148.779 | 680 | 10 | 3437.64 | 412.516 | 705 | 10 | 2176.36 | 261.164 | 730 | 10 | 12568.4 | 1508.21 | 760 | 10 | 14976.1 | 1797.13 | 810 | 10 | 14668.3 | 1760.2 | 860 | 10 | 14314 | 1717.68 | 900 | 10 | 3858.09 | 462.971 | 940 | 10 | 1968.52 | 236.223 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 30 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202138Z | 20.3605 | 20 | 20 | 410 | 10 | 2335.68 | 280.282 | 435 | 10 | 2136.88 | 256.426 | 460 | 10 | 3038.76 | 364.652 | 485 | 10 | 2932.85 | 351.942 | 510 | 10 | 2807.38 | 336.885 | 535 | 10 | 3028.29 | 363.395 | 560 | 10 | 2170.18 | 260.422 | 585 | 10 | 2656.38 | 318.766 | 610 | 10 | 5496.95 | 659.633 | 645 | 10 | 1856.78 | 222.814 | 680 | 10 | 3204.4 | 384.528 | 705 | 10 | 1891.12 | 226.934 | 730 | 10 | 12241.2 | 1468.94 | 760 | 10 | 13514.1 | 1621.69 | 810 | 10 | 13965.6 | 1675.87 | 860 | 10 | 13596.1 | 1631.53 | 900 | 10 | 3449.11 | 413.893 | 940 | 10 | 1732.94 | 207.952 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 31 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202140Z | 20.3611 | 20 | 20 | 410 | 10 | 2690.5 | 322.86 | 435 | 10 | 2481.32 | 297.759 | 460 | 10 | 3703.52 | 444.423 | 485 | 10 | 2980.4 | 357.648 | 510 | 10 | 2879.9 | 345.588 | 535 | 10 | 3145.02 | 377.402 | 560 | 10 | 2232.73 | 267.927 | 585 | 10 | 2626.05 | 315.126 | 610 | 10 | 5005.82 | 600.699 | 645 | 10 | 1875.66 | 225.079 | 680 | 10 | 3139.39 | 376.726 | 705 | 10 | 1946.13 | 233.536 | 730 | 10 | 12756.7 | 1530.81 | 760 | 10 | 13907.5 | 1668.9 | 810 | 10 | 14519.2 | 1742.31 | 860 | 10 | 13664.2 | 1639.71 | 900 | 10 | 3573.58 | 428.83 | 940 | 10 | 1922.64 | 230.717 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 32 | Yellow Shrub | ./photos/Yellow Shrub.jpg | 11 | Friday | 20240531T202141Z | 20.3614 | 20 | 20 | 410 | 10 | 2753.47 | 330.416 | 435 | 10 | 2501.53 | 300.183 | 460 | 10 | 3744.37 | 449.325 | 485 | 10 | 3065.31 | 367.837 | 510 | 10 | 2928.48 | 351.418 | 535 | 10 | 3181.98 | 381.837 | 560 | 10 | 2290.02 | 274.802 | 585 | 10 | 2651.75 | 318.21 | 610 | 10 | 5000.13 | 600.015 | 645 | 10 | 1921.55 | 230.586 | 680 | 10 | 3172.41 | 380.689 | 705 | 10 | 2005.22 | 240.626 | 730 | 10 | 12844.6 | 1541.36 | 760 | 10 | 14101.2 | 1692.15 | 810 | 10 | 14802.1 | 1776.25 | 860 | 10 | 14167.1 | 1700.05 | 900 | 10 | 3627.48 | 435.298 | 940 | 10 | 1932.35 | 231.882 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 33 | Red Broad Leaf | ./photos/Red Broad Leaf.jpg | 12 | Friday | 20240531T202208Z | 20.3689 | 20 | 20 | 410 | 10 | 1956.19 | 234.742 | 435 | 10 | 1788.59 | 214.631 | 460 | 10 | 3154.82 | 378.578 | 485 | 10 | 1408.68 | 169.042 | 510 | 10 | 1462.87 | 175.545 | 535 | 10 | 1497.29 | 179.674 | 560 | 10 | 726.894 | 87.227 | 585 | 10 | 1116.3 | 133.956 | 610 | 10 | 1487.05 | 178.446 | 645 | 10 | 658.774 | 79.053 | 680 | 10 | 1959.79 | 235.175 | 705 | 10 | 1302.63 | 156.315 | 730 | 10 | 8291.57 | 994.988 | 760 | 10 | 11602.7 | 1392.33 | 810 | 10 | 10401.9 | 1248.22 | 860 | 10 | 11440.1 | 1372.82 | 900 | 10 | 3011.79 | 361.415 | 940 | 10 | 1506.17 | 180.741 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 34 | Red Broad Leaf | ./photos/Red Broad Leaf.jpg | 12 | Friday | 20240531T202209Z | 20.3692 | 20 | 20 | 410 | 10 | 1952.78 | 234.334 | 435 | 10 | 1808.8 | 217.056 | 460 | 10 | 3209.6 | 385.152 | 485 | 10 | 1410.38 | 169.246 | 510 | 10 | 1478.61 | 177.433 | 535 | 10 | 1509.61 | 181.153 | 560 | 10 | 729.08 | 87.49 | 585 | 10 | 1117.57 | 134.108 | 610 | 10 | 1496.16 | 179.54 | 645 | 10 | 663.956 | 79.675 | 680 | 10 | 2000.04 | 240.005 | 705 | 10 | 1284.97 | 154.196 | 730 | 10 | 8311.97 | 997.436 | 760 | 10 | 11689.3 | 1402.72 | 810 | 10 | 10443.8 | 1253.25 | 860 | 10 | 11451.9 | 1374.23 | 900 | 10 | 3040.69 | 364.882 | 940 | 10 | 1508.82 | 181.058 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 35 | Red Broad Leaf | ./photos/Red Broad Leaf.jpg | 12 | Friday | 20240531T202211Z | 20.3697 | 20 | 20 | 410 | 10 | 1971.5 | 236.58 | 435 | 10 | 1831.89 | 219.827 | 460 | 10 | 3280.16 | 393.619 | 485 | 10 | 1423.12 | 170.774 | 510 | 10 | 1483.4 | 178.008 | 535 | 10 | 1505.07 | 180.608 | 560 | 10 | 736.515 | 88.382 | 585 | 10 | 1130.63 | 135.675 | 610 | 10 | 1530.35 | 183.642 | 645 | 10 | 673.578 | 80.829 | 680 | 10 | 1969.08 | 236.29 | 705 | 10 | 1263.57 | 151.629 | 730 | 10 | 8476.77 | 1017.21 | 760 | 10 | 12009.3 | 1441.11 | 810 | 10 | 10615.4 | 1273.85 | 860 | 10 | 11650.4 | 1398.05 | 900 | 10 | 3093.48 | 371.217 | 940 | 10 | 1531.76 | 183.811 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 36 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202242Z | 20.3783 | 20 | 20 | 410 | 10 | 2324.62 | 278.955 | 435 | 10 | 1955.04 | 234.605 | 460 | 10 | 3035.05 | 364.206 | 485 | 10 | 1752.58 | 210.309 | 510 | 10 | 1687.98 | 202.558 | 535 | 10 | 1989.47 | 238.736 | 560 | 10 | 1293.71 | 155.246 | 585 | 10 | 1498.38 | 179.805 | 610 | 10 | 1865.36 | 223.843 | 645 | 10 | 735.384 | 88.246 | 680 | 10 | 1668.77 | 200.252 | 705 | 10 | 1379.37 | 165.525 | 730 | 10 | 9668.79 | 1160.25 | 760 | 10 | 11824.6 | 1418.95 | 810 | 10 | 12093.5 | 1451.21 | 860 | 10 | 13215.4 | 1585.85 | 900 | 10 | 3155.16 | 378.619 | 940 | 10 | 1637.64 | 196.517 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 37 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202244Z | 20.3789 | 20 | 20 | 410 | 10 | 2297.39 | 275.687 | 435 | 10 | 1949.27 | 233.912 | 460 | 10 | 3032.27 | 363.872 | 485 | 10 | 1758.52 | 211.022 | 510 | 10 | 1685.25 | 202.23 | 535 | 10 | 2001.79 | 240.214 | 560 | 10 | 1307.71 | 156.925 | 585 | 10 | 1510.59 | 181.271 | 610 | 10 | 1898.41 | 227.809 | 645 | 10 | 745.747 | 89.49 | 680 | 10 | 1601.69 | 192.202 | 705 | 10 | 1386.16 | 166.34 | 730 | 10 | 10051.7 | 1206.21 | 760 | 10 | 11822.9 | 1418.75 | 810 | 10 | 12034.6 | 1444.15 | 860 | 10 | 13257.7 | 1590.93 | 900 | 10 | 3166.27 | 379.952 | 940 | 10 | 1686.17 | 202.341 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 38 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202246Z | 20.3794 | 20 | 20 | 410 | 10 | 2277.82 | 273.339 | 435 | 10 | 1941.57 | 232.988 | 460 | 10 | 3054.55 | 366.546 | 485 | 10 | 1744.93 | 209.392 | 510 | 10 | 1695.51 | 203.461 | 535 | 10 | 2012.16 | 241.459 | 560 | 10 | 1302.9 | 156.348 | 585 | 10 | 1501.74 | 180.209 | 610 | 10 | 1804.97 | 216.596 | 645 | 10 | 738.715 | 88.646 | 680 | 10 | 1653.29 | 198.394 | 705 | 10 | 1402.46 | 168.296 | 730 | 10 | 9803.77 | 1176.45 | 760 | 10 | 11798.2 | 1415.78 | 810 | 10 | 12153.1 | 1458.37 | 860 | 10 | 13445.7 | 1613.48 | 900 | 10 | 3162.38 | 379.486 | 940 | 10 | 1667.64 | 200.117 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 39 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202247Z | 20.3797 | 20 | 20 | 410 | 10 | 2251.44 | 270.173 | 435 | 10 | 1923.29 | 230.795 | 460 | 10 | 3083.33 | 369.999 | 485 | 10 | 1724.56 | 206.947 | 510 | 10 | 1698.25 | 203.789 | 535 | 10 | 2034.86 | 244.183 | 560 | 10 | 1291.96 | 155.036 | 585 | 10 | 1495.43 | 179.451 | 610 | 10 | 1795.85 | 215.502 | 645 | 10 | 748.708 | 89.845 | 680 | 10 | 1629.55 | 195.546 | 705 | 10 | 1407.9 | 168.948 | 730 | 10 | 9899.5 | 1187.94 | 760 | 10 | 11803.1 | 1416.37 | 810 | 10 | 12105.6 | 1452.67 | 860 | 10 | 13356.4 | 1602.77 | 900 | 10 | 3175.16 | 381.019 | 940 | 10 | 1657.94 | 198.952 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 40 | Vgreen | ./photos/Vgreen.jpg | 13 | Friday | 20240531T202249Z | 20.3803 | 20 | 20 | 410 | 10 | 2314.41 | 277.729 | 435 | 10 | 1923.29 | 230.795 | 460 | 10 | 2959.85 | 355.182 | 485 | 10 | 1767.01 | 212.041 | 510 | 10 | 1675.67 | 201.08 | 535 | 10 | 1940.83 | 232.9 | 560 | 10 | 1266.16 | 151.939 | 585 | 10 | 1499.64 | 179.957 | 610 | 10 | 1884.73 | 226.168 | 645 | 10 | 742.787 | 89.134 | 680 | 10 | 1569.69 | 188.363 | 705 | 10 | 1348.81 | 161.857 | 730 | 10 | 9992.89 | 1199.15 | 760 | 10 | 11813 | 1417.56 | 810 | 10 | 12067.7 | 1448.12 | 860 | 10 | 13016.9 | 1562.02 | 900 | 10 | 3140.71 | 376.885 | 940 | 10 | 1652.64 | 198.317 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 41 | Red Plant | ./photos/Red Plant.jpg | 14 | Friday | 20240531T202316Z | 20.3878 | 20 | 20 | 410 | 10 | 1784.31 | 214.117 | 435 | 10 | 1408.55 | 169.026 | 460 | 10 | 1970.14 | 236.416 | 485 | 10 | 1057.15 | 126.858 | 510 | 10 | 947.651 | 113.718 | 535 | 10 | 793.712 | 95.245 | 560 | 10 | 491.156 | 58.939 | 585 | 10 | 835.333 | 100.24 | 610 | 10 | 1485.91 | 178.309 | 645 | 10 | 808.294 | 96.995 | 680 | 10 | 1471.65 | 176.598 | 705 | 10 | 770.506 | 92.461 | 730 | 10 | 7138 | 856.56 | 760 | 10 | 7936.63 | 952.396 | 810 | 10 | 7180.64 | 861.677 | 860 | 10 | 6464.38 | 775.725 | 900 | 10 | 2166.6 | 259.992 | 940 | 10 | 1312.94 | 157.553 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 42 | Red Plant | ./photos/Red Plant.jpg | 14 | Friday | 20240531T202318Z | 20.3883 | 20 | 20 | 410 | 10 | 1778.35 | 213.402 | 435 | 10 | 1401.82 | 168.218 | 460 | 10 | 1933.93 | 232.071 | 485 | 10 | 1046.96 | 125.635 | 510 | 10 | 931.914 | 111.83 | 535 | 10 | 791.766 | 95.012 | 560 | 10 | 478.473 | 57.417 | 585 | 10 | 817.64 | 98.117 | 610 | 10 | 1463.12 | 175.574 | 645 | 10 | 804.963 | 96.596 | 680 | 10 | 1438.63 | 172.635 | 705 | 10 | 722.285 | 86.674 | 730 | 10 | 6990.47 | 838.856 | 760 | 10 | 7671.95 | 920.633 | 810 | 10 | 7070.23 | 848.428 | 860 | 10 | 6138.92 | 736.671 | 900 | 10 | 2119.92 | 254.391 | 940 | 10 | 1289.11 | 154.694 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 43 | Red Plant | ./photos/Red Plant.jpg | 14 | Friday | 20240531T202320Z | 20.3889 | 20 | 20 | 410 | 10 | 1730.7 | 207.684 | 435 | 10 | 1380.65 | 165.678 | 460 | 10 | 1900.5 | 228.06 | 485 | 10 | 1014.69 | 121.763 | 510 | 10 | 932.599 | 111.912 | 535 | 10 | 772.312 | 92.677 | 560 | 10 | 467.976 | 56.157 | 585 | 10 | 803.318 | 96.398 | 610 | 10 | 1438.05 | 172.566 | 645 | 10 | 788.679 | 94.641 | 680 | 10 | 1355.03 | 162.604 | 705 | 10 | 711.419 | 85.37 | 730 | 10 | 6921.41 | 830.57 | 760 | 10 | 7585.36 | 910.243 | 810 | 10 | 6880.85 | 825.701 | 860 | 10 | 6042.58 | 725.11 | 900 | 10 | 2076.02 | 249.123 | 940 | 10 | 1276.76 | 153.211 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 44 | Leafy | ./photos/Leafy.jpg | 15 | Friday | 20240531T202340Z | 20.3944 | 20 | 20 | 410 | 10 | 2016.6 | 241.992 | 435 | 10 | 1771.27 | 212.553 | 460 | 10 | 2723.1 | 326.772 | 485 | 10 | 1731.35 | 207.762 | 510 | 10 | 1683.19 | 201.983 | 535 | 10 | 1750.19 | 210.022 | 560 | 10 | 1360.63 | 163.276 | 585 | 10 | 1580.1 | 189.612 | 610 | 10 | 2587.8 | 310.536 | 645 | 10 | 819.027 | 98.283 | 680 | 10 | 1274.54 | 152.944 | 705 | 10 | 1080.2 | 129.624 | 730 | 10 | 9386.29 | 1126.35 | 760 | 10 | 10687.5 | 1282.49 | 810 | 10 | 10822.5 | 1298.7 | 860 | 10 | 10358 | 1242.96 | 900 | 10 | 2805.63 | 336.676 | 940 | 10 | 1511.47 | 181.376 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 45 | Leafy | ./photos/Leafy.jpg | 15 | Friday | 20240531T202341Z | 20.3947 | 20 | 20 | 410 | 10 | 2017.45 | 242.094 | 435 | 10 | 1756.84 | 210.821 | 460 | 10 | 2716.6 | 325.992 | 485 | 10 | 1715.21 | 205.826 | 510 | 10 | 1672.93 | 200.752 | 535 | 10 | 1705.44 | 204.653 | 560 | 10 | 1348.82 | 161.858 | 585 | 10 | 1581.78 | 189.814 | 610 | 10 | 2610.59 | 313.271 | 645 | 10 | 817.916 | 98.15 | 680 | 10 | 1234.29 | 148.115 | 705 | 10 | 1044.89 | 125.386 | 730 | 10 | 9256.8 | 1110.82 | 760 | 10 | 10384.8 | 1246.18 | 810 | 10 | 10736.3 | 1288.36 | 860 | 10 | 10070.2 | 1208.42 | 900 | 10 | 2739.51 | 328.741 | 940 | 10 | 1490.29 | 178.835 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 46 | Leafy | ./photos/Leafy.jpg | 15 | Friday | 20240531T202343Z | 20.3953 | 20 | 20 | 410 | 10 | 2026.81 | 243.217 | 435 | 10 | 1771.27 | 212.553 | 460 | 10 | 2725.88 | 327.106 | 485 | 10 | 1732.2 | 207.864 | 510 | 10 | 1681.82 | 201.819 | 535 | 10 | 1745.65 | 209.478 | 560 | 10 | 1353.19 | 162.383 | 585 | 10 | 1586.84 | 190.42 | 610 | 10 | 2607.18 | 312.861 | 645 | 10 | 823.468 | 98.816 | 680 | 10 | 1245.64 | 149.477 | 705 | 10 | 1059.49 | 127.139 | 730 | 10 | 9286.62 | 1114.39 | 760 | 10 | 10516.8 | 1262.01 | 810 | 10 | 10786.3 | 1294.35 | 860 | 10 | 10132.5 | 1215.89 | 900 | 10 | 2771.18 | 332.542 | 940 | 10 | 1506.17 | 180.741 | 4.11 | 92
STELLA-Q2 | 2.4.0 | 6858 | 47 | Pink Flower | ./photos/Pink Flower.jpg | 16 | Friday | 20240531T202417Z | 20.4047 | 20 | 20 | 410 | 10 | 2417.37 | 290.084 | 435 | 10 | 1725.09 | 207.011 | 460 | 10 | 2470.56 | 296.467 | 485 | 10 | 1842.58 | 221.11 | 510 | 10 | 1425.24 | 171.029 | 535 | 10 | 1722.3 | 206.676 | 560 | 10 | 1021.24 | 122.548 | 585 | 10 | 1240.99 | 148.919 | 610 | 10 | 1936.01 | 232.321 | 645 | 10 | 1309.78 | 157.173 | 680 | 10 | 1632.65 | 195.917 | 705 | 10 | 1292.1 | 155.052 | 730 | 10 | 7145.06 | 857.408 | 760 | 10 | 10407.1 | 1248.85 | 810 | 10 | 11045.8 | 1325.49 | 860 | 10 | 12745.5 | 1529.46 | 900 | 10 | 2827.3 | 339.276 | 940 | 10 | 1318.23 | 158.188 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 48 | Pink Flower | ./photos/Pink Flower.jpg | 16 | Friday | 20240531T202418Z | 20.405 | 20 | 20 | 410 | 10 | 2550.96 | 306.115 | 435 | 10 | 1821.3 | 218.557 | 460 | 10 | 2474.28 | 296.913 | 485 | 10 | 2015.8 | 241.896 | 510 | 10 | 1445.08 | 173.41 | 535 | 10 | 1716.47 | 205.976 | 560 | 10 | 1018.61 | 122.234 | 585 | 10 | 1292.39 | 155.086 | 610 | 10 | 2274.44 | 272.933 | 645 | 10 | 1508.89 | 181.067 | 680 | 10 | 1648.13 | 197.775 | 705 | 10 | 1296.51 | 155.582 | 730 | 10 | 7243.15 | 869.179 | 760 | 10 | 10299.9 | 1235.99 | 810 | 10 | 11099 | 1331.88 | 860 | 10 | 12882.9 | 1545.95 | 900 | 10 | 2816.19 | 337.943 | 940 | 10 | 1327.94 | 159.353 | 4.12 | 92
STELLA-Q2 | 2.4.0 | 6858 | 49 | Pink Flower | ./photos/Pink Flower.jpg | 16 | Friday | 20240531T202420Z | 20.4055 | 20 | 20 | 410 | 10 | 2480.33 | 297.64 | 435 | 10 | 1721.24 | 206.549 | 460 | 10 | 2479.85 | 297.582 | 485 | 10 | 1878.25 | 225.389 | 510 | 10 | 1420.45 | 170.454 | 535 | 10 | 1711.28 | 205.353 | 560 | 10 | 1017.74 | 122.129 | 585 | 10 | 1251.1 | 150.132 | 610 | 10 | 2380.42 | 285.65 | 645 | 10 | 1431.54 | 171.785 | 680 | 10 | 1629.55 | 195.546 | 705 | 10 | 1288.36 | 154.604 | 730 | 10 | 7240.02 | 868.802 | 760 | 10 | 10339.5 | 1240.74 | 810 | 10 | 11032.9 | 1323.95 | 860 | 10 | 12810.1 | 1537.21 | 900 | 10 | 2822.3 | 338.676 | 940 | 10 | 1321.76 | 158.611 | 4.11 | 92
Average | 2.4.0 | 6858 | 50 | White Card | ./photos/White Card.jpg | 17 | Friday | 20240531T202709Z | 20.4546 | 20 | 20 | 410 | 10 | 12425.4364 | 1491.05 | 435 | 10 | 16248.8455 | 1949.8582 | 460 | 10 | 19857.5182 | 2382.9018 | 485 | 10 | 18727.8818 | 2247.3455 | 510 | 10 | 17806.1455 | 2136.7345 | 535 | 10 | 15983.5909 | 1918.03 | 560 | 10 | 10612.6364 | 1273.5164 | 585 | 10 | 11068.8818 | 1328.2627 | 610 | 10 | 27466.0818 | 3295.93 | 645 | 10 | 9779.0318 | 1173.4818 | 680 | 10 | 22157.0455 | 2658.8464 | 705 | 10 | 7849.5645 | 941.9473 | 730 | 10 | 19993.2 | 2399.1827 | 760 | 10 | 18297.8545 | 2195.7427 | 810 | 10 | 19312.4909 | 2317.4991 | 860 | 10 | 19474.0818 | 2336.89 | 900 | 10 | 4477.1209 | 537.2545 | 940 | 10 | 2717.6409 | 326.1169 | 4.1182 | 92